Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-610.462	Reliability and Operator Staffing

The Department of Environmental Protection hereby gives notice:

that on June 7, 2018, the Department issued an Order granting petition for variance from Petitioner, Harbour Ridge Property Owner’s Association, Inc. The Petition was received on April 6, 2018. Notice of receipt of this Petition was published in the Florida Administrative Register on April 19, 2018. The petition requested a variance from subsection 62-610.462(3), F.A.C., to reduce staffing to Class C operator 3 hours per day, 5 days per week and one visit of one-hour duration during the weekend. No public comment was received. The Order, OGC No.18-0190; DEP File No. FLA013986-012-VO, granted the Petition to subsection 62-610.462(3), F.A.C., based on a showing that Petitioner demonstrated that the purpose of the underlying statute would be achieved by use of the automated reject system and alarm notification to the operator and that a strict application of the rule would result in substantial hardship to Petitioner

A copy of the Order or additional information may be obtained by contacting: Lyudmila Sokolova, Department of Environmental Protection, Southeast District, MSC 7210-1, 3301 Gun Club Rd, West Palm Beach, FL, telephone: (561)681-6738; Lyudmila.Sokolova@dep.state.fl.us; during normal business hours, 8:00 a.m. to 5:00 p.m., Monday through Friday, except holidays.