61G15-31.006 Design of Structural Systems Utilizing Open Web Steel Joists and Joist Girders.

(1) The Engineer of Record shall indicate on the Structural Engineering Documents the steel joist and joist girder designations from the 1997 Steel Joist Institute's Specifications and load tables and shall indicate the appropriate standards for joist and joist girder design, layout, end supports, anchorage, bridging requirements, etc., including connections to walls. These documents shall indicate special requirements for concentrated loads, non-uniform loads, openings, extended ends, and resistance to uplift loads.

(2) The steel joist and joist girder manufacturer shall design the steel joist and joist girder members in accordance with the 1997 Steel Joist Institute Specifications and load tables to support the loads per the Engineer of Record's specified joist and joist girder designations and/or special loading diagrams, as set forth in Structural Engineering Documents. The Engineer of Record may require the submission of the steel joist and joist girder design calculations as an indication of compliance. When required to submit the steel joist and joist girder calculations, the steel joist and joist girder manufacturer shall submit a cover letter along with the steel joist and joist girder design calculations. The cover letter shall bear the seal and signature of a Florida registered professional engineer responsible for design of the steel joist and joist girders.

Specific Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1)(g), (j) FS. History–New 1-26-93, Formerly 21H-31.006, Amended 10-19-97.