61G15-31.008 Design of Foundations.

(1) The structural engineering documents shall designate the foundation capacity and shall include data indicating the nature of the foundation material anticipated.

(2) Site preparation requirements, necessary to provide the foundation capacity, shall be specified in the structural engineering document(s).

(3) The foundation capacity shall be determined on the basis of scientific analysis utilizing investigations, tests or studies conducted or provided by the engineer of record for the structure or by a delegated engineer.

Specific Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1)(g) FS. History–New 1-26-93, Formerly 21H-31.008.