61G15-32.008 Design of Fire Alarms, Signaling Systems and Control System.

(1) Fire alarms, signaling, and control systems include, but are not limited to, fire protection supervision and alarm circuits, activation controls, and remote signaling.

(2) The Fire Protection System design specifications shall be based on applicable NFPA standards, when available, or alternative engineering sources and good engineering practice when required, and shall comply with the provisions of Rule 61G15-33.006, F.A.C.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-32.008.