61G15-32.009 Design of Fine Water Spray (Mist) Fire Suppression and Control Systems.

(1) Fine water spray (mist) systems include water based fire suppression and control systems based on NFPA 750.

(2) The fire protection system(s) shall be based on applicable NFPA standards when available or on alternative engineering sources including full scale fire testing and good engineering practice when no applicable standard exists.

(3) Design of fine water spray systems requires specific knowledge of hazards, physical containment and fire dynamics. A “pre-engineered” listed system shall be installed only after the engineer of record has evaluated the project specific protected hazard.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.005(6), 471.033(2) FS. History–New 4-2-00.