61G15-33.003 Design of Power Systems.

(1) Power systems convey or distribute electrical energy. Items to be included in the design and analysis of these systems are: steady state and transient loads, short circuit protection (design and analysis), load flow, voltage drop, harmonics, and protective device coordination.

(2) Electrical engineering documents applicable to power systems shall at a minimum indicate the following:

(a) System Riser Diagram.

(b) Conductor Ampacities (sizes) and insulation type.

(c) Protection devices and interrupting capability.

(d) Main and distribution panelboard locations and sizes.

(e) Circuitry of all outlets and devices.

(f) Short circuit analysis.

(g) Load computations.

(h) Electrical legend.

(i) Grounding and bonding.

(j) Instrumentation control.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.003.