61G15-33.004 Design of Lighting Systems.

(1) Lighting systems convert electrical energy into light. Items to be included in the lighting design and analysis are: Average illuminance, Equivalent spherical illuminance, Uniformity rations, Visual comfort probability, special purpose lighting, and the requirements of the Florida Energy Efficiency Code, part IX, Chapter 553, Florida Statutes.

(2) Electrical engineering documents for lighting systems shall, at a minimum, indicate the following:

(a) Lighting fixture performance specifications and arrangements.

(b) Emergency Lighting.

(c) Exit Lighting.

(d) Lighting Control and circuiting.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.004.