61G15-33.005 Design of Communications Systems.

(1) Communications systems are utilized to convey messages or data. Items to be included in the design or analysis of these systems are: Human factors engineering, cabling requirements, installation requirements, performance requirements, backup power requirements, the interrelationship of the various systems, and applicable regulatory requirements.

(2) Electrical engineering documents for communications systems shall, at a minimum, indicate the following:

(a) System riser diagram.

(b) Equipment legend.

(c) Conductor type and installation requirements.

(d) Device type and locations.

(e) Backup power sources where applicable.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.005.