61G15-33.006 Design of Alarm Systems.

(1) Alarm systems are used to monitor and alarm a fire or other emergency condition. Items to be included in the design or analysis of these systems are: structure alarm requirements, location and audibility, types of alarms and initiation devices, notification requirements, installation requirements, backup power requirements, applicable regulatory requirements, and the provisions of Rule 61G15-32.007, F.A.C.

(2) Design documents for alarm systems shall, at a minimum, indicate the following:

(a) System riser diagram.

(b) Device types and locations.

(c) Type of conductors and installation requirements including rating identification and listing requirements.

(d) Notification requirements.

(e) Backup power requirements.

(f) Where applicable, backup power sources and inter-ties to other systems/components.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.006