61G15-33.007 Design of Lightning Protection Systems.

(1) Lightning Protection Systems are passive systems used to protect building and structures from damage caused by lightning and static discharges. Items to be considered in the design or analysis of this system include the requirements of NFPA-78.

(2) Electrical engineering documents for lightning protection systems shall indicate:

(a) Air terminals height and spacing.

(b) Arrangement of Main and Down conductors.

(c) Grounding points and spacing.

(d) Legend.

(e) Testing requirements of grounds.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.007.