61G15-33.009 Design of Instrumentation and Control Systems.

(1) Instrumentation and control systems are used to automate processes. Items to be included in the design and analysis of these systems are: reliability of control of critical processes, safety of personnel, and suitability of instruments and control devices in the environment in which they are installed.

(2) Electrical engineering documents for instrumentation and control systems shall indicate, at a minimum, the following:

(a) A description of the control system functions, or a functional diagram.

(b) Specifications of control instruments and their location.

(c) Type of conductors and cables, and requirements for their installation.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.009.