Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-604.400	Design/Performance Considerations

The Department of Environmental Protection hereby gives notice: that on July 6, 2018, the Spring Lake Improvement District Wastewater Treatment Facilities (Permit No. FLA997668-002-DWF/VO; OGC No. 18-0212) withdrew its Petition for a Variance. The Petition for Variance was received on April 18, 2018. Notice of receipt of the Petition was published in the Florida Administrative Register on May 3, 2018. The petition requested a variance from subparagraph 62-604.400(2)(a)1, F.A.C., which requires that emergency pumping capability shall be provided for all pump station that receive flow from one or more pump stations through a force main or pump station discharging through pipes 12 inches or larger.

A copy of the Order or additional information may be obtained by contacting: Bill Robertson, (239)344-5657, Bill.D.Robertson@floridadep.gov; Department of Environmental Protection, South District, P.O Office Box 2549, Fort Myers, Florida 33902-2549; during normal business hours, 8:00 a.m. – 5:00 p.m., Monday through Friday, except legal holidays.