- 40E-21.251 Water Shortage Phases.

(1) This rule establishes four phases of water shortage as a function of the estimated percent reduction in overall demand required to reduce estimated present and anticipated demand to estimated present and anticipated available water supply. The water shortage phase determines the type of water use restrictions which will be ordered in a declared water shortage.

(2) The following water shortage phases are established:

|  | Water Shortage Phase | Color Code | % reduction in overall demand |
| --- | --- | --- | --- |
| I. Moderate Water Shortage | Yellow | less than 15% |  |
| II. Severe Water Shortage |  | Orange | less than 30% |
| III. Extreme Water Shortage |  | Red | less than 45% |
| IV. Critical Water Shortage |  | Purple | less than 60% |

(3) Each source class for which a water shortage has been declared shall be assigned a specific water shortage phase. More than one source class may be combined into a single class for this purpose. The water shortage phase selected for a source class is based upon:

(a) The estimated percent reduction in overall demand as determined in subsection 40E-21.231(4), F.A.C., and

(b) For areas with multiple sources, the extent to which users have the capability to obtain water from a source or sources other than the source class for which a water shortage has been declared.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 5-31-82, Amended 9-12-18.