Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-600.660	Treatment Facility Monitoring

NOTICE IS HEREBY GIVEN that on April 26, 2019, the Florida Department of Environmental Protection, received a petition for variance from Riverwood Community Development District. The petition requested a variance for modification of the sampling types from composite sampling to grab sampling at the petitioner’s wastewater treatment plant. paragraph 62-600.660(3)(b), F.A.C., requires that composite samples shall be used to test CBOD5, TSS, and nutrients at facilities with a permitted capacity less than 100,000 gallons per day. The facility is located at 4250 Riverwood Drive, Port Charlotte, Florida 33953. The petition has been assigned OGC No. 19-0342; and File No. FLA014060-013-DWF.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Nolin Moon, (239)344-5672, Nolin.Moon@floridadep.gov; Florida Department of Environmental Protection, South District, 2295 Victoria Avenue, Suite 364, Fort Myers, Florida 33901; during normal business hours, 8:00 a.m. – 5:00 p.m., Monday through Friday, except legal holidays. Written comments must be received by the Florida Department of Environmental Protection no later than 14 days from the date of publication of this notice.