62-4.240 Operation Permits for Water Pollution Sources.

(1) Any person intending to discharge wastes into the waters of the State shall make application to the Department for an operation permit. Application shall be made in accordance with Part I of Chapter 62-4, F.A.C., and shall include:

(a) The total daily flow and the average daily concentration weight of each appropriate pollutant parameter contained in the discharge.

(b) The temperature of the discharge.

(c) Any additional information reasonably necessary to evaluate treatment efficiency and the effect of such discharges upon the receiving waters.

(2) An operation permit shall be issued only if all Department requirements are met, including the provisions of Rules 62-302.300, 62-302.700 and 62-4.242, F.A.C.

(3) A permit issued pursuant to this section shall:

(a) Specify the manner, nature, volume and frequency of the discharge permitted;

(b) Require proper operation and maintenance of any pollution abatement facility by qualified personnel in accordance with standards established by the Department; and

(c) Contain such additional conditions, requirements and restrictions as the Department deems necessary to preserve and protect the quality of the receiving waters and to ensure proper operation of the pollution control facilities.

(4) An operation permit may be renewed upon application to the Department. No renewal permit shall be issued if the Department finds that the proposed discharge will reduce the quality of the receiving waters below the classification established for them.

Specific Authority 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088, 403.101 FS. History–New 5-17-72, Formerly 17-4.23, Amended 8-31-88, 10-4-89, Formerly 17-4.240.