62-25.001 Scope.

(1) The discharge of untreated stormwater may reasonably be expected to be a source of pollution of waters of the state and is, therefore, subject to Department regulation. The Department shall prevent pollution of waters of the state by discharges of stormwater, to ensure that the designated most beneficial uses of waters, as prescribed by Chapter 62-302, F.A.C., are protected.

(2) A permit under this chapter will be required only for new stormwater discharge facilities as defined herein. This provision shall not affect the Department’s authority to require appropriate corrective action, pursuant to Sections 403.121-.161, F.S., whenever existing facilities cause or contribute to violations of state water quality standards.

(3) Stormwater discharges to groundwaters shall be regulated under the provisions of Chapters 62-520 and 62-522, F.A.C., and other applicable rules of the Department.

(4) The Department intends that, to the greatest extent practicable, the provisions of this chapter be delegated to either local governments or water management districts seeking such delegation.

Specific Authority 373.026(7), 373.043, 373.4145, 403.805(1) FS. Law Implemented 373.4145 FS. History–Formerly 17-4.248, Amended and Renumbered 2-1-82, Amended 1-26-84, Formerly 17-25.01, 17-25.001.