62-25.060 Relationship to Other Permitting Requirements.

(1) Whenever the construction of a new stormwater discharge facility requires that a dredge or fill permit be secured pursuant to Rule 62-312.150 or 62-312.160, or Chapter 62-312, F.A.C., or whenever other rules of the Department require that a permit, Section 401 Federal Clean Water Act certification or other certification be secured, all applicable stormwater requirements under this chapter shall be reviewed as part of those permit applications. A separate permit application under this chapter shall not be required. If the applicant requests a separate stormwater permit, the applicant must notify the Department of any other Department permits, exemptions, or certifications which have or will be requested for the project.

(2) The permit requirements of Chapter 62-4, F.A.C., or other applicable rules, rather than those of this chapter, shall apply to discharges which are a combination of stormwater and industrial or domestic wastewater or which are otherwise contaminated by non-stormwater sources unless:

(a) The stormwater discharge facility is capable of providing treatment of the non-stormwater component sufficient to meet state water quality standards; and

(b) The applicant requests that the permit requirements of this chapter apply.

Specific Authority 373.026(7), 373.043, 373.4145, 403.805(1) FS. Law Implemented 373.4145 FS. History–Formerly 17-4.248, Amended and Renumbered 2-1-82, Amended 1-26-84, 5-8-85, Formerly 17-25.06, 17-25.060.