## 5J-20.026 Unsafe Container or System.

(1) Any system or container that fails to comply with Chapter 527, F.S., this rule chapter, and any standards incorporated by reference shall be designated unsafe by department staff by means of issuance of a FDACS-10988, Stop Use Order. Rev. 02/17, as incorporated by reference in Rule 5J-22.002, F.A.C., to the operator of the system or container.

(2) Containers or systems under stop use order shall not continue in service until all violations have been corrected and the Stop Use Order is removed by department staff by means of issuance of FDACS-03209, Release, Rev. 02/17, as incorporated by reference in Rule 5J-22.002, F.A.C.

Rulemaking Authority 527.06 FS. Law Implemented 527.06, 527.10 FS. History–New 3-15-94, Formerly 4B-1.037, Amended 7-20-95, 7-28-14, Formerly 5F-11.026, Amended 7-10-19.