- 5J-20.028 Installation of Containers on Roofs of Buildings.

Installation of containers on roofs of buildings as referenced in NFPA 58, Section 6.8.7, as incorporated by reference in Rule 5J-20.002, F.A.C., is prohibited.

Rulemaking Authority 527.06 FS. Law Implemented 527.06, 527.062 FS. History–New 6-8-99, Amended 5-23-00, 9-2-02, 1-29-06, Formerly 5F-11.028, Amended 7-10-19.