- 61G15-32.010 Design of Smoke Control Systems.

(1) Smoke control systems include, but are not limited to, smoke exhaust systems and pressurization systems for the purpose of providing a tenable environment to allow occupants to exit the building

(2) The Fire Protection System(s) shall be based on the Florida Building Code, the Florida Fire Prevention Code, applicable NFPA standards, when available, or on alternative engineering sources and good engineering practice when required.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033(2) FS. History–New 7-25-19.