- 62-304.610 Hillsborough River Basin TMDLs.

(1) Sparkman Branch. The Total Maximum Daily Load for Sparkman Branch is a median of 6.52 x 108 colonies/day for fecal coliform and a median of 3.911 x 109 colonies/day for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 59.3 percent reduction of current fecal coliform loading and an 86.1 percent reduction of total coliform loading; and,

(b) The Load Allocation for nonpoint sources is a 59.3 percent reduction of current fecal coliform loading and an 86.1 percent reduction of total coliform loading; and,

(c) The Margin of Safety is implicit.

(2) Hillsborough River (Segment 1443D). The Total Maximum Daily Load for the Hillsborough River (Segment 1443D) for total coliform is a median of 1.1 x 1013 colonies/day during moist conditions, which are defined as flows ranging from 124 cfs to 419 cfs, and a median of 3.88 x 1012 colonies/day loading during dry conditions, which are defined as flows ranging from 27 cfs to 91 cfs, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 62.3 percent reduction of current total coliform loading during moist conditions, and a 26.5 percent reduction of total coliform loading during dry conditions; and,

(b) The Load Allocation for nonpoint sources is a 62.3 percent reduction of current total coliform loading during moist conditions, and a 26.5 percent reduction of total coliform loading during dry conditions; and,

(c) The Margin of Safety is implicit.

(3) Hillsborough River (Segment 1443E). The Total Maximum Daily Load for the Hillsborough River (Segment 1443E) is 400 counts/100 mL for fecal coliform and 2,400 counts/100 mL for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Wastewater Permitting Program is 3.34 x 109 colonies/day for fecal coliform and 2.00 x 1010 colonies/day for total coliform;

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 51.2 percent reduction of current fecal coliform loading and a 52.9 percent reduction of total coliform loading;

(c) The Load Allocation for nonpoint sources is a 51.2 percent reduction of current fecal coliform loading and a 52.9 percent reduction of total coliform loading; and,

(d) The Margin of Safety is implicit.

(4) Lake Hunter. The Total Maximum Daily Load for Lake Hunter is an annual average load of 6,579 pounds/year of total nitrogen and 489 pounds/year of total phosphorus, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is an 80 percent reduction of current total nitrogen and total phosphorus loading;

(b) The Load Allocation for nonpoint sources is an annual average load of 6,579 pounds/year of total nitrogen and 489 pounds/year of total phosphorus; and,

(c) The Margin of Safety is implicit.

(5) Baker Creek. The Total Maximum Daily Load for Baker Creek is a median of 1.35 x 1011 colonies/day for fecal coliform and a median of 1.37 x 1012 colonies/day for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Wastewater Permitting Program is 8.72 x 109 colonies/day for fecal coliform;

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 44.4 percent reduction of current fecal coliform loading and a 41.5 percent reduction of total coliform loading;

(c) The Load Allocation for nonpoint sources is a 44.4 percent reduction of current fecal coliform loading and a 41.5 percent reduction of total coliform loading; and,

(d) The Margin of Safety is implicit.

(6) Flint Creek. The Total Maximum Daily Load for Flint Creek is 400 counts/100 mL for fecal coliform and 2,400 counts/100 mL for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 51.2 percent reduction of current fecal coliform loading and a 41.5 percent reduction of total coliform loading;

(b) The Load Allocation for nonpoint sources is a 51.2 percent reduction of current fecal coliform loading and a 41.5 percent reduction of total coliform loading; and,

(c) The Margin of Safety is implicit.

(7) Blackwater Creek. The Total Maximum Daily Loads for Blackwater Creek are medians of 2.07 x 1012 colonies/day for fecal coliform and 1.24 x 1013 colonies/day for total coliform during high/moist conditions, which are defined as flows ranging from 33 cfs to 1,370 cfs, and medians of 6.75 x 1010 colonies/day for fecal coliform and 4.05 x 1011 colonies/day for total coliform during dry conditions, which are defined as flows ranging from 2 cfs to 14 cfs, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Wastewater Permitting Program is 8.72 x 109 colonies/day for fecal coliform.

(b) The Wasteload Allocations for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program are a 71.6 percent reduction of current fecal coliform loading and a 62.6 percent reduction of current total coliform loading during high/moist conditions, and a 58.1 percent reduction of fecal coliform loading and a 48.0 percent reduction in total coliform loading during dry conditions; and,

(c) The Load Allocations for nonpoint sources are a 71.6 percent reduction of current fecal coliform loading and a 62.6 percent reduction of current total coliform loading during high/moist conditions, and a 58.1 percent reduction of fecal coliform loading and a 48.0 percent reduction in total coliform loading during dry conditions; and,

(d) The Margin of Safety is implicit.

(8) Cypress Creek. The Total Maximum Daily Load for Cypress Creek is a median of 1.06 x 1012 colonies/day for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 57.6 percent reduction of current total coliform loading; and,

(b) The Load Allocation for nonpoint sources is a 57.6 percent reduction of current total coliform loading; and,

(c) The Margin of Safety is implicit.

(9) New River. The Total Maximum Daily Load for the New River is a median of 6.48 x 1010 for fecal coliform and a median of 3.89 x 1011 for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 35.3 percent reduction of current fecal coliform loading and a 43.6 percent reduction of total coliform loading;

(b) The Load Allocation for nonpoint sources is a 35.3 percent reduction of current fecal coliform loading and a 43.6 percent reduction of total coliform loading; and,

(c) The Margin of Safety is implicit.

(10) Mill Creek. The fecal coliform TMDL for Mill Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 66 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 66 percent reduction of sources contributing to exceedances of the criteria; and,

(d) The Margin of Safety is implicit.

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(11) Trout Creek. The fecal coliform TMDL for Trout Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for the Hillsborough County Pebble Creek Village WWTF (FL0039896) must meet its NPDES permit conditions;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 53 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 53 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(12) Channelized Stream. The TMDLs to address the low dissolved oxygen and nutrient impairments are an annual average 1.16 mg/L of TN and an annual average of 0.473 mg/L of TP and are allocated as follows:

(a) The WLA for wastewater point sources is not applicable;

(b) The WLAs for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program are a 52.1 percent reduction in anthropogenic loadings of TN and a 60.5 percent reduction in anthropogenic loadings of TP for the 2000-2007 period at sources contributing to exceedances of the criteria; and,

(c) The LAs for nonpoint sources are a 52.1 percent reduction in anthropogenic loadings of TN and a 60.5 percent reduction in anthropogenic loadings of TP for the 2000-2007 period at sources contributing to exceedances of the criteria; and,

(d) The Margin of Safety is implicit.

(e) While the LA and WLA have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reductions of in-stream TN and TP concentrations. However, it is not the intent of the TMDL to abate natural background conditions.

(13) Lake Thonotosassa. The nutrient TMDL for Lake Thonotosassa is a seven-year rolling average of annual loads of 46,962 pounds per year (lbs/year) TN and 3,137 lbs/year TP, which is intended to achieve an annual geometric mean chlorophyll a concentration of 32 µg/L not to be exceeded more than once in any consecutive 3-year period, and is allocated as follows:

(a) The WLA for wastewater point sources is not applicable,

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is a 29% reduction of TN (calculated from 55,504 lbs/year) and a 89% reduction of TP (calculated from 21,943 lbs/year), which are based on the average of annual loads from the 1999-2010 period,

(c) The LA for nonpoint sources is a 29% reduction of TN (calculated from 55,504 lbs/year) and a 89% reduction of TP (calculated from 21,943 lbs/year), which are based on the average of annual loads from the 1999-2010 period, and

(d) The Margin of Safety is implicit.

(e) While the LA for TN and TP has been expressed as the percent reduction needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient conditions in the impaired waterbody. However, it is not the intent of this TMDL to abate natural background conditions.

(14) Flint Creek. The nutrient TMDL for Flint Creek is an annual geometric mean concentration not to be exceed more than once in any consecutive 3-year period of 1.80 mg/L TN which is intended to achieve an annual geometric mean chlorophyll a concentration of 18 µg/L not to be exceeded more than once in any consecutive 3-year period, and is allocated as follows:

(a) The WLA for wastewater point sources is not applicable,

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is a 28% reduction of TN (calculated from 2.49 mg/L), which is based on the highest annual geometric mean concentration from the 1999-2010 period,

(c) The LA for nonpoint sources is a 28% reduction of TN (calculated from 2.49 mg/L), which is based on the highest annual geometric mean concentration from the 1999-2010 period, and

(d) The Margin of Safety is implicit.

(e) While the LA for TN has been expressed as the percent reduction needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient conditions in the impaired waterbody. However, it is not the intent of this TMDL to abate natural background conditions.

Rulemaking Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 12-22-04, Amended 7-7-10, 6-7-13, 7-23-19.