62-214.330 Acid Rain Compliance Plan and Compliance Options.

(1) The designated representative shall submit to the Department a complete Acid Rain compliance plan for each Acid Rain unit included in an Acid Rain Part application, including:

(a) For sulfur dioxide emissions, a certification that, the designated representative will hold allowances, as defined at 40 C.F.R. 72.2, adopted and incorporated by reference at Rule 62-204.800, F.A.C., as of the allowance transfer deadline, as defined at 40 C.F.R. 72.2, not less than the total annual emissions of sulfur dioxide from the unit for the previous calendar year and shall comply with the unit’s elected compliance options, if any. Such requirement shall become effective on:

1. January 1, 2000, for an Acid Rain unit that is an existing unit pursuant to 40 C.F.R. 72.6(2), adopted and incorporated by reference at Rule 62-204.800, F.A.C.;

2. The later of January 1, 2000, or the deadline for monitor certification pursuant to 40 C.F.R. Part 75, adopted and incorporated by reference at Rule 62-204.800, F.A.C., for an Acid Rain unit that is a new unit as defined at 40 C.F.R. 72.6(3), adopted and incorporated by reference at Rule 62-204.800, F.A.C.

(b) For nitrogen oxides emissions, a certification that the unit will comply with any applicable limitation established by the EPA pursuant to 40 C.F.R. Part 76.5, 76.6, or 76.7, adopted and incorporated by reference at Rule 62-204.800, F.A.C., or will elect and comply with one or more Acid Rain compliance options in accordance with the provisions of 40 C.F.R. Part 76.10 and 76.11, adopted and incorporated by reference at Rule 62-204.800, F.A.C.

(2) The designated representative of an Acid Rain source may include in the Acid Rain compliance plan compliance options using repowering extensions if the Acid Rain source and the designated representative meet the criteria of this subsection, including source limitation, timing and certification requirements;

(a) A designated representative may apply for repowering extensions as compliance options only for the following:

1. Any existing Acid Rain unit that is a coal-fired unit and that had a 1985 actual sulfur dioxide emissions rate equal to or greater than 1.2 pounds per million British thermal units (mmBtu);

2. Any oil, gas-fired or combination oil and gas-fired unit that the designated representative certifies as having been awarded clean-coal-technology-demonstration Department of Energy funding as of January 1, 1991;

3. Any new unit that is also a utility unit and that will replace an existing Acid Rain unit meeting the criteria of subparagraph 62-214.330(2)(a)1., F.A.C., at a different site, provided the new unit and the existing Acid Rain unit have the same designated representative and provided that the new unit;

a. Is an oil or gas-fired unit that the designated representative certifies as having been awarded clean-coal-technology-demonstration Department of Energy funding as of January 1, 1991;

b. Uses one of the following clean coal technologies:

1. Atmospheric or pressurized fluidized bed combustion;

2. Integrated gasification combined cycle;

3. Magnetohydrodynamics;

4. Direct and indirect coal-fired turbines;

5. Integrated gasification fuel cells; or,

c. Is certified by the designated representative as having received EPA approval as qualifying repowering technology pursuant to 40 C.F.R. 72.2, adopted and incorporated by reference at Rule 62-204.800, F.A.C.

(b) A repowering extension does not exempt the owner or operator of any unit governed by the Acid Rain compliance plan from the requirement to comply with such unit’s Acid Rain emissions limitations for sulfur dioxide.

(c) A designated representative of any unit meeting the criteria of subparagraph 62-214.330(2)(a)1., F.A.C., who is proposing a repowering extension shall certify in accordance with Rule 62-214.350, F.A.C., that:

1. The unit will be repowered with an EPA-approved repowering technology to comply with the unit’s Acid Rain emissions limitations for sulfur dioxide; or,

2. The unit will be replaced by a unit meeting the criteria of subparagraph 62-214.330(2)(a)3., F.A.C., and that the existing unit will be permanently retired from service on or before the date on which the new utility unit commences commercial operation.

(d) To apply for a repowering extension, the designated representative shall:

1. Submit a complete repowering extension plan as described at paragraph 62-214.330(2)(e), F.A.C., to the Department, by January 1, 1996;

2. Submit a petition for approval of repowering technology to EPA in accordance with 40 C.F.R. 72.44(d), adopted and incorporated by reference at Rule 62-204.800, F.A.C., before June 1, 1997, and provide a copy to the Department;

3. If the repowering extension plan is submitted to the Department as a conditional compliance option, submit a notice to activate the plan in accordance with Rule 62-214.430, F.A.C., to the Department by December 31, 1997.

(e) A complete repowering extension plan shall include the following:

1. Identification of the existing unit governed by the plan;

2. The existing unit’s SIP sulfur dioxide emissions limitation;

3. The best estimate of the existing unit’s calendar year 1995 sulfur dioxide emissions rate based on results of the compliance demonstrations for the most recent two-year period prior to submitting the plan, provided that the actual calendar year 1995 sulfur dioxide emissions rate is submitted to the Department by January 30, 1996;

4. A schedule for construction, installation, and commencement of operation of any repowering technology either approved by EPA or submitted for EPA approval pursuant to 40 C.F.R. 72.44(d) with dates for the following milestones:

a. Completion of design engineering;

b. For a plan described at paragraph 62-214.330(2)(c)1., F.A.C., removal of the existing unit from operation, to install the qualified repowering technology;

c. Commencement of construction;

d. Completion of construction;

e. Start-up testing;

f. For a plan described at subparagraph 62-214.330(2)(c)2., F.A.C., shutdown of the existing unit and commencement of commercial operation of the repowering technology;

5. For a plan described at subparagraph 62-214.330(2)(c)2., F.A.C.:

a. Identification of the new unit;

b. Certification, in accordance with Rule 62-214.350, F.A.C., that the new unit will replace the existing unit, that the new unit has the same designated representative as the existing unit and that the existing unit will be permanently retired from service on or before the date the new unit commences commercial operation.

6. A statement that the Acid Rain source agrees to act in conformity with the special provisions of 40 C.F.R. 72.44(h), adopted and incorporated by reference at Rule 62-204.800, F.A.C.

7. A statement that the designated representative shall comply with the requirements of 40 C.F.R. 72.94, adopted and incorporated by reference at Rule 62-204.800, F.A.C.

(f) A designated representative shall not include any new unit in more than one repowering extension plan.

(g) The repowering extension shall become effective January 1, 2000, and shall terminate on the earlier of December 31, 2003, or on the day preceding the date on which the existing unit will be removed from operation to install the qualifying repowering technology or on which the existing unit will be permanently removed from service for replacement by a new unit with such technology except that the repowering extension shall terminate as provided in 40 C.F.R. 72.44 in the event of failure of any repowering technology specified in a compliance option.

(3) The designated representative may include in the Acid Rain compliance plan a multi-unit compliance option pursuant to the requirements of 40 C.F.R. 76.11, adopted and incorporated by reference at Rule 62-204.800, F.A.C., provided that:

(a) A plan for a compliance option that includes units at more than one Acid Rain source shall be complete only if:

1. Such plan is signed and certified in accordance with Rule 62-214.350, F.A.C., by the designated representative for each source with an Acid Rain unit governed by such plan; and

2. A complete Title V permit application including an Acid Rain Part application is submitted covering each unit governed by such plan.

(b) The designated representative of the source containing the unit or units covered by the Acid Rain Part application certifies that every permitting authority (as defined at 40 C.F.R. 70.2, adopted and incorporated by reference at Rule 62-204.800, F.A.C.) with jurisdiction over any other units included in the multi-unit compliance option has approved the Acid Rain compliance plan with the same modifications or conditions, if any, stated in the proposed Acid Rain Part of the permit or submits a schedule in the form of a Title V compliance plan for providing such certifications.

Specific Authority 403.061, 403.087, 403.0872 FS. Law Implemented 403.031, 403.061, 403.0872 FS. History–New 1-3-95, Amended 7-6-95, 12-10-97, 1-3-01.