62-296.410 Carbonaceous Fuel Burning Equipment.

(1) Emissions units for which a valid Department operation or construction permit was issued prior to July 1, 1974.

(a) Burners with a capacity less than 30 million Btu per hour heat input – Visible emissions with a density of Number 1 on the Ringelmann Chart (20 percent opacity) except that emissions with a density of Number 2 (40 percent opacity) are permissible for not more than two minutes in any one hour.

(b) Burners with a capacity equal to or greater than 30 million Btu per hour heat input.

1. Visible emissions – Visible emissions with a density of Number 1.5 on the Ringelmann Chart (30 percent opacity) except that a density of Ringelmann Number 2 (40 percent opacity) is permissible for not more than two minutes in any one hour.

2. Particulate Matter – 0.3 pounds per million Btu of heat input of carbonaceous fuel plus 0.1 pounds per million Btu heat input of fossil fuel.

(2) New Emissions Units.

(a) Burners of capacity less than 30 million Btu per hour total heat input – Ringelmann Number 1 (20 percent opacity) except that a density of Ringelmann Number 2 (40 percent opacity) is permissible for not more than two minutes in any one hour.

(b) Burners of capacity equal to or greater than 30 million Btu per hour total heat input.

1. Visible Emissions – Number 1.5 on the Ringelmann Chart (30 percent opacity) except that a density of Ringelmann Number 2 (40 percent opacity) is permissible for not more than two minutes in any one hour.

2. Particulate Matter – 0.2 pounds per million Btu of heat input of carbonaceous fuel plus 0.1 pounds per million Btu heat input of fossil fuel.

(3) Test Methods and Procedures. All emissions tests performed pursuant to the requirements of this rule shall comply with the following requirements.

(a) The test method for visible emissions shall be DEP Method 9, incorporated in Chapter 62-297, F.A.C.

(b) The test method for particulate emissions shall be EPA Method 5, incorporated and adopted by reference in Chapter 62-297, F.A.C.

(c) Test procedures shall meet all applicable requirements of Chapter 62-297, F.A.C.

Specific Authority 403.061 FS. Law Implemented 403.021, 403.031, 403.061, 403.087 FS. History–Formerly 17-2.600(10), 17-296.410, Amended 11-23-94, 1-1-96.