62-296.509 Bulk Gasoline Plants.

(1) Applicability. The emission limiting standards set forth in Rule 62-296.509, F.A.C., shall apply to the unloading, loading, and storage facilities of all bulk gasoline plants and all tank trucks or trailers delivering or receiving gasoline at bulk gasoline plants.

(2) Control Technology.

(a) No owner or operator of a bulk gasoline plant may permit stationary storage tanks to be filled with gasoline unless each tank is equipped for submerged filling and such equipment is used and properly maintained.

(b) No owner or operator of a bulk gasoline plant, tank, truck, or trailer shall permit the filling of tank trucks or trailers at a bulk gasoline plant unless each tank, truck or trailer is equipped for submerged filling and such equipment is used and properly maintained.

Specific Authority 403.061 FS. Law Implemented 403.021, 403.031, 403.061, 403.087 FS. History–Formerly 17-2.650(1)(f)9., 17-296.509.