62-297.520 EPA Continuous Monitor Performance Specifications.

This rule lists the continuous monitor performance specifications to be used where required by department air pollution rule or air permit. The EPA performance specifications listed in this rule and contained in 40 CFR 60, Appendix B, are adopted and incorporated by reference in Rule 62-204.800, F.A.C. The EPA performance specifications that are adopted by reference at Rule 62-204.800, F.A.C., are adopted in their entirety except for those provisions referring to approval of alternative procedures by the Administrator. For purposes of this rule, such alternative procedures may only be approved by the Secretary or his or her designee in accordance with Rule 62-297.620, F.A.C.

(1) Performance Specification 1 – Specifications and Test Procedures for Opacity Continuous Emission Monitoring Systems in Stationary Sources.

(2) Performance Specification 2 – Specifications and Test Procedures for SO2 and NOx Continuous Emission Monitoring Systems in Stationary Sources.

(3) Performance Specification 3 – Specifications and Test Procedures for O2 and CO2 Continuous Emission Monitoring Systems in Stationary Sources.

(4) Performance Specification 4 – Specifications and Test Procedures for Carbon Monoxide Continuous Emission Monitoring Systems in Stationary Sources.

(5) Performance Specification 4A – Specifications and Test Procedures for Carbon Monoxide Continuous Emission Monitoring Systems in Stationary Sources.

(6) Performance Specification 5 – Specifications and Test Procedures for TRS Continuous Emission Monitoring Systems in Stationary Sources.

(7) Performance Specifications 6 – Specifications and Test Procedures for Continuous Emission Rate Monitoring Systems in Stationary Sources.

(8) Performance Specifications 7 – Specifications and Test Procedures for Hydrogen Sulfide Continuous Emission Monitoring Systems in Stationary Sources.

(9) Performance Specification 8 – Performance Specifications for Volatile Organic Compound Continuous Emission Monitoring Systems in Stationary Sources.

(10) Performance Specification 9 – Specifications and Test Procedures for Gas Chromatographic Continuous Emission Monitoring Systems in Stationary Sources.

Specific Authority 403.061 FS. Law Implemented 403.031, 403.061, 403.087 FS. History–New 6-29-93, Formerly 17-297.520, Amended 11-23-94, 3-13-96, 3-2-99.