62-304.310 Apalachicola River TMDLs.

Huckleberry Creek. The Total Maximum Daily Load for Huckleberry Creek is a median of 6.85 x 109 colonies/day for fecal coliform, and is allocated as follows:

(1) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Permitting Program is to meet the Class III water quality criteria for fecal coliform in Chapter 62-302, F.A.C.

(2) The Load Allocation for nonpoint sources is a median of 6.85 x 109 colonies/day for fecal coliform, which constitutes a 68.33 percent reduction of current fecal coliform loading, and

(3) The Margin of Safety is implicit.

Specific Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 6-22-05.