Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by the City of Marathon on July 1, 2019. The following is a summary of the agency's disposition of the petition: Petitioner requested an answer to the following questions, based upon the project described within its petition: When the two-family dwellings are designed and constructed as described, are the requirements for “separate means of egress” satisfied by the shared deck and single staircase with point of exit discharge at the “yard”? On August 13, 2019, the Commission provided the following answer: Yes. The shared deck of the project in question is considered a “court” as defined in section R202, Florida Building Code, Residential, 6th Edition (2017). The proposed shared deck and single staircase with point of exit discharge at the “yard” would therefore satisfy the requirement of section R101.2, Florida Building Code, Residential, 6th Edition (2017), for a separate means of egress.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.