- 62-304.640 Withlacoochee Basin TMDLs.

(1) Rainbow Springs Group and Rainbow Springs Group Run. The nitrate TMDL is an in-stream monthly mean concentration of 0.35 mg/L and is allocated as follows:

(a) The Wasteload Allocation (WLA) for wastewater sources is not applicable.

(b) The WLA for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream nitrate concentrations meet the TMDL target, which, based on the mean concentrations from the 2000-2010 period, will require a 82 percent reduction of nitrate.

(c) The Load Allocations for nonpoint sources are to address anthropogenic sources in the basin such that in-stream nitrate concentrations meet the TMDL target, which, based on the mean concentrations from the 2000-2011 period, will require a 82 percent reduction of nitrate.

(d) The Margin of Safety is implicit.

(2) Lake Juliana. The nutrient TMDL for Lake Juliana is an annual geometric mean of 1.03 mg/L Total Nitrogen (TN), which is intended to achieve the applicable annual geometric mean chlorophyll a criterion for low color, high alkalinity lakes, and is allocated as follows:

(a) The WLA for wastewater point sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Separate Storm Sewer System (MS4) Permitting Program is a 40% reduction of TN based on mean concentrations from the 2003-2013 period.

(c) The Load Allocation (LA) for nonpoint sources is a 40% reduction of TN based on mean concentrations from the 2003-2013 period; and,

(d) The Margin of Safety is implicit.

(e) While the LA and WLA for TN have been expressed as the percent reduction needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient conditions in the impaired waterbody. However, it is not the intent of this TMDL to abate natural background conditions.

(3) Gum Springs (Alligator Springs). The nutrient TMDL for Gum Springs (Alligator Springs) is an annual geometric mean (AGM) of 0.35 mg/L nitrate-nitrite at the spring vent, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is a 78% reduction of nitrate-nitrite (calculated from 1.58 mg/L), which is based on the highest AGM concentration from the 2009 – 2017 period;

(c) The LA for nonpoint sources is 78% reduction of nitrate-nitrite (calculated from 1.58 mg/L), which is based on the highest AGM from the 2009 ‒ 2017 period, and

(d) The Margin of Safety is implicit.

(e) While the LA for nitrate-nitrite has been expressed as the percent reduction needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient conditions in the impaired waterbody. However, it is not the intent of this TMDL to abate natural background conditions.

(4) Wilson Head Spring. The nutrient TMDL for Wilson Head Spring is an AGM of 0.35 mg/L nitrate-nitrite at the spring vent, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is a 43% reduction of nitrate-nitrite (calculated from 0.61 mg/L), which is based on the highest AGM concentration from the 2009 – 2017 period;

(c) The LA for nonpoint sources is 43% reduction of nitrate-nitrite (calculated from 0.61 mg/L), which is based on the highest AGM from the 2009 ‒ 2017 period, and

(d) The Margin of Safety is implicit.

(e) While the LA for nitrate-nitrite has been expressed as the percent reduction needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient conditions in the impaired waterbody. However, it is not the intent of this TMDL to abate natural background conditions.

(5) Blue Spring (Citrus County). The nutrient TMDL for Blue Spring (Citrus County) is an AGM of 0.35 mg/L nitrate-nitrite at the spring vent, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES MS4 Permitting Program is a 61% reduction of nitrate-nitrite (calculated from 0.90 mg/L), which is based on the highest AGM concentration from the 2009 – 2017 period;

(c) The LA for nonpoint sources is 61% reduction of nitrate-nitrite (calculated from 0.90 mg/L), which is based on the highest AGM from the 2009 ‒ 2017 period, and

(d) The Margin of Safety is implicit.

(e) While the LA for nitrate-nitrite has been expressed as the percent reduction needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient conditions in the impaired waterbody. However, it is not the intent of this TMDL to abate natural background conditions.

Rulemaking Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 5-7-13, Amended 12-11-16, 10-29-19.