62-505.700 Planning, Design, Construction, and Post-construction Requirements.

(1) Projects shall be subject to the environmental, social, and economic requirements identified in the grant application form 62-505.900(2).

(2) A wastewater facilities plan shall include documentation of the following:

(a) Identification of the planning area and the existing and future project service areas.

(b) Demographic, geologic, topographic, hydrogeologic, and institutional characteristics of the study area impacting the evaluation of alternatives.

(c) Cost-effectiveness of feasible alternatives, including regionalization of facilities, considering capital costs and operation and maintenance costs over the useful life of the facilities based on a discount rate projected to be in effect during a planning period of not less than five (5) years.

(d) The value of potable water resources conserved as a result of reclaimed water reuse alternatives (such as agricultural or landscape irrigation) shall be addressed in facilities plans for projects involving wastewater treatment, disposal, or reuse.

(e) Implementability of the selected facilities from legal, institutional, financial, technical, and management perspectives.

(f) Environmental effects and other non-monetary considerations, if any, associated with the selected facilities.

(g) Identification of the collection, transmission, treatment, reuse, and disposal problems associated with the wastewater system and the local physical conditions associated with those problems.

(h) Identification of the facilities needed to comply with wastewater treatment plant discharge permits issued by the Department and identification of the facilities needed throughout the future project service area over a planning period of not less than five (5) years.

(i) Public participation process carried out by the project sponsor. The project sponsor shall hold a public hearing before formal adoption of its wastewater facilities plan. The purpose of the hearing shall be to enable public participation in the final evaluation of project alternatives. The project sponsor shall include a complete record of the hearing in the wastewater facilities plan.

(j) Capital improvements financing information addressing the following for projects to be funded with grants:

1. All capital improvements to the wastewater management system, including those to be financed using any type of debt instrument, that will be implemented over a period of five (5) years beginning with the year after the project has been constructed and is in operation.

2. Proposed system of charges, rates, fees, and other collections that will generate the revenues that will be dedicated to making the wastewater management system financially self-sufficient.

3. Proposed rate ordinance or other enforceable schedule for charges, rates, fees, and other collections associated with the revenues that will be dedicated to making the wastewater management system financially self-sufficient.

4. Wastewater management system operating and non-operating expenses and revenues for the most recent audited operating year and projected to be in effect for the first full year after the project has been constructed and is in operation.

(k) Affirmation that the selected facilities are not inconsistent with local comprehensive plans.

(l) Responses generated by a multi-disciplined intergovernmental review, if applicable.

(m) Executed and fully implementable contractual agreements whenever facilities or services beyond the project sponsor’s jurisdiction are involved.

(n) For projects where the cost-effectiveness of the recommended facilities is determined by flow rate or capacity, the following shall be addressed:

1. Flow reduction methods unless the estimated average per capita discharge to the sewer system is less than 70 gallons per day.

2. Cost-effectiveness of reducing infiltration and inflow if the rainfall-induced inflow results in chronic operational problems or rainfall-induced inflow exceeds 275 gallons per day per capita during storm events or the flow rate exceeds 120 gallons per day per capita during periods of high groundwater.

(o) For projects where the cost-effectiveness of recommended facilities is determined by the level to which wastewater or residuals is treated, the alternative of improving operation and maintenance shall be considered.

(p) A description of the recommended facilities, preliminary design parameters, estimated capital costs, and estimated operation and maintenance costs.

(q) The schedule for constructing the recommended facilities.

(3) The Department shall perform an environmental review for each project to be funded. The environmental review shall establish the environmental significance of a proposed project and whether the planning of the project meets the requirements of this rule. The environmental review also shall establish the Department’s intention to make funding available for a project after the project sponsor has met the applicable requirements of this rule. A notice of availability to announce the results of the Department’s environmental review shall be published in the Florida Administrative Weekly. The notice of availability shall include instructions about the procedures for accessing the project information and the Department’s findings. The Department shall provide a 30-day period, commencing as of the date of the notice of availability, for public comment about the environmental impacts of proposed projects. Written comments from the public shall be postmarked or delivered, within the 30-day comment period, to the Department of Environmental Protection, Bureau of Water Facilities Funding, 2600 Blair Stone Road, MS 3505, Tallahassee, Florida 32399-2400.

(a) When an environmental review is performed for a component or portion of the planned wastewater management system in advance of completing the review for the entire system of facilities, the environmental review process is partitioned. A partitioned environmental review, if requested by the project sponsor, shall be performed only if all the following conditions are met: The component will immediately remedy a public health, water quality, or other environmental problem, or advance completion will achieve a demonstrable cost savings; all environmentally sound, implementable alternatives for the overall wastewater management system of which the component is a part have been identified, and the component does not foreclose any of the alternatives; and the component will not cause adverse environmental impacts, including impacts that will be minimized or eliminated only by completing the entire system. However, partitioning shall not imply further approvals for the remainder of the wastewater management system, and the environmental review for the remainder of the facilities shall conform to the applicable requirements of this subsection.

(b) The findings, conclusions, and recommendations of a previous EPA and Department environmental review issued within five (5) years prior to a potential offer of financial assistance shall have met the requirements of this subsection. The findings, conclusions, and recommendations of a previous EPA and Department environmental review must be reaffirmed, under subsection (f) below, if five (5) years or more have elapsed between the time of issue and a potential offer of financial assistance. The Department shall consult with project sponsors during the preparation of facilities plans to assist in the preparation of environmental information. The project sponsor shall document cultural, historical, archaeological, biological, and fiscal aspects of a project during the facilities planning process. When necessary, conditions shall be placed on a grant agreement to enhance the compatibility of the project with the existing environment. The Department shall document the results of its environmental reviews as described in paragraphs (c) through (f) below. When an environmental review document is amended in lieu of issuing a new document to reflect proposed project changes that potentially have environmental impacts, the same basic procedures as were used to produce the original document shall be used.

(c) A Florida Categorical Exclusion Notice (FCEN) shall be used for certain projects that are not expected to generate controversy over potential environmental effects. A FCEN shall not be used if there are environmental objections to a project at the public hearing held, under paragraph (2)(i) above, provided that such objections have a basis in statute, rule, or ordinance. An FCEN shall not be used if a project will result in the inability of existing facilities to meet permit criteria, result in unpermitted discharges, or provide capacity to service previously undisturbed areas such that more than 30% of the total design population for the project is attributed to the undisturbed areas.

1. In issuing an FCEN, the Department shall proceed as follows:

a. Briefly describe the project, the justification for the categorical exclusion, and the proposed grant funding.

b. Conclude the environmental review only after the 30-day public comment period, under subsection (3) above, has expired and no information is received about adverse environmental impacts; information is received about adverse environmental impacts and the objections either are without a basis in statute, rule, or ordinance or are resolved; or information is received about adverse environmental impacts and the FCEN is rescinded.

2. Projects categorically excluded from further environmental review are as follows:

a. Rehabilitation of existing facilities or replacement of structures, materials or equipment;

b. Facilities that will not result in more than an additional 100,000 gallons per day flow or, alternatively, not more than a ten percent increase in daily flow at an existing treatment plan and, under either alternative, neither the discharge point nor the pollutant concentration limits will be changed from existing permitted conditions and acquisition of land is not involved;

c. Facilities for unsewered communities that involve self-contained individual or cluster systems providing both treatment and disposal of wastewater near the buildings from which the wastewater is to be discharged;

d. Additions to sewer systems in areas where streets have been established, underground utilities installed, or building sites excavated; and

e. Reclaimed water reuse facilities in areas where streets have been established, underground utilities installed, or building sites excavated if the treatment level enables unrestricted public access.

(d) A Florida Finding of No Significant Impact (FFONSI) shall be used for a project not categorically excluded from a detailed environmental review and not requiring a Florida Environmental Impact Statement. In issuing a FFONSI, the Department shall proceed as follows:

1. Record the basis for the decision to provide financial assistance for the project, addressing the following:

a. The existing and future environmental conditions without the project and the environmental consequences of the project;

b. The purpose of, and the need for, the project;

c. The alternatives to, and the cost-effectiveness of, the project;

d. Environmental enhancement measures to be implemented;

e. The public participation process;

f. The interdisciplinary review of the project; and

g. Compliance with rules of the Department.

2. Consider public comments about environmental impacts of a project if the comments are received within 30 days after the publication date of the notice of availability under subsection (3) above.

3. Conclude the environmental review for the project only after the 30-day comment period has expired and any of the following situations results:

a. No information is received about previously unconsidered adverse environmental impacts;

b. Information is received about previously unconsidered adverse environmental impacts and the objections are resolved; or

c. A re-evaluation of the project is made as a result of the comments and the Department takes action to confirm the original decision, require additional analysis and environmental enhancement measures before implementing the project, or rescind the original decision.

(e) A Florida Environmental Impact Statement (FEIS) and a Florida Record of Decision (FROD) shall be used for a project for which there is an adverse direct, or indirect, impact on land use and population patterns, the quality of the environment, cultural or environmental resource areas, or the habitats of endangered or threatened species. An FEIS and FROD also shall be used when there is unresolved public controversy over the environmental impacts of a project provided that the objections to the project have a basis in statute, rule, or ordinance. An FEIS shall be prepared by the Department or, at the direction of the Department and in accordance with the Consultants’ Competitive Negotiation Act, Section 287.055, F.S., by others with no conflicting interest in the outcome. In completing the environmental review, the Department shall proceed as follows:

1. Issue a notice of intent to prepare an FEIS for the project;

2. Develop a plan of study and convene a meeting of government, including EPA, and other interested parties to determine the scope of the FEIS;

3. Identify and evaluate project alternatives;

4. Provide for public participation and review by federal and state environmental regulatory agencies;

5. Ensure that adverse impacts of the project are minimized or eliminated;

6. Document the findings of the environmental review using both the FROD and FEIS;

7. Announce the funding eligibilities using a FROD and consider public comments about environmental impacts if received during the 30-day period beginning on the date of publication of the notice of availability under subsection (3) above; and

8. Conclude the environmental review only after a 30-day public comment period has expired without receipt of comments about adverse environmental impacts or if, after receipt of such comments, the Secretary takes one of the following actions:

a. Confirms the original decision;

b. Requires additional analysis and environmental enhancement as a condition of confirmation of the original decision; or

c. Rescinds the original decision.

(f) A Florida Reaffirmation Notice (FRAN) shall be used to establish the Department’s continuing intention to make funds available for unimplemented projects, the planning for which was previously documented as accepted by the Department in a FCEN, FFONSI, FROD, or analogous documents issued by EPA, or amendments to any of the foregoing. In issuing a FRAN, the Department shall proceed as follows:

1. State the findings being reaffirmed.

2. Consider public comments about changed conditions altering the environmental impacts since the previous FCEN, FFONSI, FROD, or analogous documents issued by EPA, or amendments to any of the foregoing. Comments shall be considered if received during the 30-day period beginning on the date of publication of the notice of availability of the FRAN under subsection (3) above.

3. Conclude the environmental review only after the public comment period has expired and one of the following situations results:

a. No information is received about changed conditions resulting in adverse environmental impacts;

b. Information is received about previously unconsidered adverse environmental impacts or about changed conditions altering the environmental impacts and the objections are resolved; or

c. Information is received about adverse environmental impacts and the FRAN is rescinded.

(4) Biddable Plans and specifications shall be complete enough to be distributed for competitive bidding. Plans and specifications shall be in conformance with the facilities plan.

(5) A value engineering report shall be prepared for operationally related project facilities, the construction of which is valued at more than $5,000,000.

(6) One or more of the following permitting related conditions shall be demonstrated to exist for the project:

(a) The use of a general permit has been authorized or an intent to issue a permit has been established under Chapter 62-620, F.A.C.;

(b) The Department has issued other authorization for project construction; or

(c) The Department has determined that its authorization is not required prior to construction.

(7) A certification of availability of all project sites necessary for the purposes of construction, operation, and maintenance over the useful life of the facilities shall be made.

(8) Reasonable financial assurance shall be given that project construction will be completed. Such assurance may be in the form of a commitment to maintain adequate reserve funds dedicated throughout the construction period to ensuring project completion. Other forms of such reasonable assurance include requirements for contractors to provide performance and payment bonds under Section 255.05, F.S., and insurance covering workers' compensation, comprehensive general liability, vehicle liability, and property damage to the extent that coverage is available for construction activities.

(9) Construction contractors shall be selected according to the competitive or noncompetitive negotiation procurement methods or the formal advertised competitive bidding method. Federal regulations referenced in this subsection shall be read so that the terms “United States,” “federal,” “EPA,” and “officials of EPA” mean “the state” unless the context clearly indicates otherwise. Procurement requirements shall be as set forth in the following sections of 40 C.F.R. Part 33, Procurement Under Assistance Agreements (1995), incorporated herein by reference: 33.230(c) and (d) (except that the references to architects and engineers shall be interpreted to mean the offerors of technical services, the procurement of which is not subject to Section 287.055, F.S.), 33.255(c) (except that the salient requirements of the named brand need not be stated and the reference to 40 C.F.R. Part 35 is deleted), 33.305, 33.310, 33.315, 33.405, 33.410, 33.415, 33.420(a) through (d) and (f) (except for references to Section 33.295 and Form 5720-4), 33.425, 33.430 (except that bid rejection shall be based solely on sound documented business reasons), 33.505, 33.510 (except for references to Section 33.295 and Form 5720-4), 33.515, 33.520, and 33.605(a) through (c) as supplemented by the provision that noncompetitive negotiated procurement also shall be deemed justified when a material, product, or service provides for necessary interchangeability of parts and equipment or promotes innovative technologies.

(10) Project changes after advertising for bids and before bid opening shall be made by addendum to plans and specifications. Changes after bid opening shall be made by change order. The project sponsor shall submit all addenda and change orders to the Department. The Department shall perform a determination of eligibility under Rule 62-505.300, F.A.C., to establish the justification for all change orders to construction contracts.

Specific Authority 403.1838(3)(a), (b) FS. Law Implemented 403.1835, 403.1838 FS. History–New 11-30-98.