- 62-520.430 Standards for Class G-III Ground Water.

(1) The minimum criteria established in Rule 62-520.400, F.A.C., shall apply to all Class G-III ground water except as provided in subsection (2), below.

(2) The minimum criteria shall not apply to an underground injection facility that has received an aquifer exemption pursuant to subsection 62-528.300(3), F.A.C., unless there is danger to the environment, public health, safety, or welfare. The minimum criteria shall apply to all other facilities discharging to an exempted aquifer.

Rulemaking Authority 403.061 FS. Law Implemented 403.021, 403.061 FS. History–Formerly 17-3.151, Amended and Renumbered 1-1-83, Formerly 17-3.405, Amended 9-8-92, 4-14-94, Formerly 17-520.430.