62-550.800 Control of Lead and Copper.

The requirements contained in the July 1, 2000, edition of 40 CFR 141, subpart I (sections 80 through 91), are adopted and incorporated herein by reference and are enforceable under this rule.

Specific Authority 403.861(9) FS. Law Implemented 403.853 FS. History–New 12-9-96, Amended 8-1-00, 11-27-01.