Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On November 26, the Division issued an order. The Final Order was in response to a Petition for a permanent Variance from Homewood Suites, filed October 4, 2019, and advertised on October 10, 2019 in Vol. 45, No.198, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 2.8.2.2, ASME A17.1, 2013 edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires no foreign equipment be located in the machine room because the Petitioner has not demonstrated that the purpose of the underlying statute has been met and the Petitioner has not provided enough information for the Bureau to make a determination on the request for variance (VW 2019-174).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com.