62-560.430 Public Notification - Secondary Standards.

(1) Community water systems that exceed the secondary maximum contaminant level for fluoride shall provide notice to:

(a) All billing units annually;

(b) All new hookups or new billing units before or at the time service begins; and

(c) The State Public Health Officer.

(2) The notice shall contain the standard language found in 40 CFR 141.208(c), July 1, 2003, adopted herein by reference.

(3) The notice shall also contain a clear, concise description of the failure, the steps being taken to comply, and the telephone number of the supplier of water or his designee who may provide additional information concerning the situation.

Specific Authority 403.861(9) FS. Law Implemented 403.857 FS. History–New 11-19-87, Formerly 17-22.915, Amended 1-18-89, 5-7-90, 5-23-91, 1-1-93, 7-4-93, Formerly 17-560.430, Amended 9-7-94, 11-27-01, 1-17-05.