62-602.250 Criteria for Determining Eligible Experience.

(1) Experience necessary to meet the requirements of Rule 62-602.300, F.A.C., shall include performance of on-site process control and trouble shooting action with the treatment process as listed in paragraph (a) below. Experience listed in paragraph (b) below can also be included for part of the documented experience if the experience listed in paragraph (a) predominates.

(a) Performance of process control shall include the performance of operational control tests and evaluation and interpretation of the test results; preparation of plant process control reports, logs or records; analysis and disposal or distribution of the plant product and the residuals from the treatment process; and control of the hydraulic system and necessary chemical adjustments.

(b) Sample collection and analysis, plant operation and maintenance, and solids handling.

2) For the Class A license, periods of employment as a direct on-site supervisor or superintendent of on-site operators can be used.

(3) Persons employed in the daily on-site operational control of an industrial wastewater treatment plant can use this experience to meet the experience requirements of the Class A, B, or C wastewater operator license. Industrial wastewater treatment plant means the structures, equipment and processes required to treat wastewater, primarily organic in composition, in a plant using a biodegradation or physical-chemical treatment process, similar to the domestic wastewater secondary, tertiary or advanced treatment processes. A diagram and detailed process description must be submitted for the Department to determine if the experience is commensurate to the level applied for.

(4) Persons employed in the daily on-site operational control of an industrial production process water treatment plant can use this experience to meet the experience requirements of the Class A, B, or C drinking water operator license. Industrial production process water treatment plant means the structures, equipment, and processes required to treat water in a plant using a physical-chemical treatment process similar to drinking water treatment processes. A diagram and detailed process description must be submitted for the Department to determine if the experience is commensurate to the level applied for.

(5) Experience required for the license shall be acquired in the type of treatment, in either wastewater or drinking water, for which a license is requested. Experience in treatment of wastewater for reuse shall be counted as wastewater experience.

(6) Experience excludes:

(a) Experience in wastewater systems where septic tanks, filter beds, or lagoons are the sole means of treatment;

(b) Experience in water systems used for swimming;

(c) Experience in construction or design of treatment plants, or well drilling;

(d) Experience in the installation or servicing of water softening or conditioning devices installed in residences or commercial establishments for the purpose of altering the aesthetic quality of the public water supply;

(e) Experience limited solely to driving a sludge truck, facility maintenance, or laboratory work; and

(f) Periods of employment as directors of public works, utility managers, regulatory inspectors, or in other occupations which do not include the experience as defined in this rule section.

Specific Authority 403.869, 403.872 FS. Law Implemented 403.865, 403.866, 403.867, 403.872 FS. History–New 12-30-99, Amended 2-6-02.