- 25-6.037 Extent of Facilities and Equipment That a Utility Must Inspect, Operate, and Maintain.

(1) Each utility must operate and maintain in safe, efficient, and proper condition, pursuant to Rules 25-6.034, 25-6.0341, 25-6.0345, and 25-6.040, F.A.C., all of the facilities and equipment used in connection with the production, transmission, distribution, regulation, and delivery of electricity to any customer up to the point of delivery. The utility is also responsible for the measurement of electrical consumption consistent with test procedures and accuracies prescribed by the Commission.

(2) Each utility must adopt a program governing the inspection of its electric facilities and equipment in order to determine the necessity for replacement and repair. Each utility must keep records to establish compliance with its inspection program.

Rulemaking Authority 350.127(2), 366.04(6), 366.05(1) FS. Law Implemented 366.03, 366.04(1), (2)(c), (f), (5), (6), 366.05(1), (3) FS. History–New 7-29-69, Amended 4-13-80, Formerly 25-6.37, Amended 12-30-19.