- 62-610.480 Other Reuse Applications.

(1) The Department shall approve other uses of reclaimed water if the following requirements are met:

(a) All requirements of Part III of Chapter 62-610, F.A.C., are met; and,

(b) The engineering report provides reasonable assurance that the intended use will meet applicable rules of the Department and will protect the public health.

(2) Additional uses which are approved include:

(a) Water supply for commercial laundries.

(b) Vehicle washing.

(c) Flushing of sanitary sewers and reclaimed water lines.

(d) Mixing of concrete.

(e) Manufacture of ice for ice rinks.

(f) Cleaning roads, sidewalks, and outdoor work areas.

Rulemaking Authority 403.051, 403.061, 403.087 FS. Law Implemented 403.021, 403.051, 403.061, 403.062, 403.085, 403.086, 403.087, 403.088 FS. History–New 4-2-90, Formerly 17-610.480, Amended 1-9-96.