- 62-610.518 Access Control and Advisory Signs.

(1) For all rapid-rate land application systems, appropriate advisory signs shall be posted around the site boundaries to designate the nature of the project area. Fencing around the entire site boundary is not required. Rapid infiltration basins, percolation ponds, or trenches, and storage ponds shall be enclosed with a fence or otherwise designed with appropriate features to discourage the entry of animals and unauthorized persons.

(2) The permittee may allow public access to absorption field sites.

Rulemaking Authority 403.051, 403.061, 403.087 FS. Law Implemented 403.021, 403.051, 403.061, 403.062, 403.085, 403.086, 403.087, 403.088 FS. History–New 4-4-89, Formerly 17-610.518, Amended 1-9-96.