- 62-610.850 Protection of Surface Water and Ground Water Quality.

(1) Protection of surface water quality.

(a) Reuse and land application projects shall not cause or contribute to violations of water quality standards in surface waters.

(b) Projects having point source discharges, such as overland flow projects permitted under Part VI of Chapter 62-610, F.A.C., and underdrained slow-rate and rapid-rate land application systems, shall be subject to all applicable discharge and permitting requirements contained in Department rules, including the following:

1. Permitting requirements and effluent or reclaimed water limits in Chapter 62-620, F.A.C.

2. Permitting requirements and effluent or reclaimed water limits in Chapter 62-600, F.A.C.

3. WQBEL provisions imposed by Chapter 62-650, F.A.C.

4. Permitting requirements and effluent or reclaimed water limits imposed by Chapter 62-611, F.A.C.

5. Outstanding Florida Waters provisions in Chapter 62-302, F.A.C.

6. Effluent or reclaimed water limits imposed by Section 403.086(4), F.S., for discharges within the area identified in Section 403.086(1)(c), F.S.

7. Effluent or reclaimed water limits imposed by Chapter 90-262, Laws of Florida, for discharges within the area identified in Chapter 90-262, Laws of Florida.

8. Compliance with water quality standards established in Chapter 62-302, F.A.C.

9. Compliance with the antidegradation policy contained in Chapters 62-4 and 62-302, F.A.C.

(c) Ground water discharges from reuse or land application projects which flow by interflow and affect water quality in surface waters shall not cause or contribute to violations of water quality standards in surface waters.

(d) The engineering report shall provide reasonable assurances that surface water quality standards contained in Chapter 62-302, F.A.C., will be met. If water quality standards cannot be met, additional treatment or disinfection shall be provided or other operational control measures shall be implemented.

(2) Protection of Ground Water Quality.

(a) Reuse and land application projects shall be designed and operated to ensure compliance with ground water quality standards contained in Chapter 62-520, F.A.C.

(b) The engineering report shall provide reasonable assurances that ground water standards will be met.

(c) If the applicant is unable to provide reasonable assurances in the engineering report that the minimum preapplication treatment and disinfection requirements contained in Chapter 62-610, F.A.C., are sufficient to ensure compliance with the ground water quality standards, the applicant shall do the following in the engineering report:

1. Propose additional treatment or disinfection or other operational controls designed to ensure compliance with the ground water quality standards.

2. Provide reasonable assurances that the additional treatment or disinfection or other operational control measures will ensure compliance with the ground water quality standards.

Rulemaking Authority 403.051, 403.061, 403.087, 403.0881 FS. Law Implemented 403.021, 403.051, 403.061, 403.087, 403.088, 403.0881 FS. History–New 4-2-90, Formerly 17-610.850, Amended 1-9-96.