62-762.851 Alternative Requirements and Equipment Approvals.

(1) Alternative requirements.

(a) Any person subject to the provisions of this chapter may request in writing a determination by the Secretary or the Secretary’s designee that any requirement of this chapter shall not apply to a regulated storage tank system at a facility, and shall request approval of alternate procedures or requirements.

(b) The request shall set forth at a minimum the following information:

1. The specific storage tank system or facility for which an exception is sought;

2. The specific provisions of Chapter 62-762, F.A.C., from which an exception is sought;

3. The basis for the exception;

4. The alternative procedure or requirement for which approval is sought;

5. Documentation that demonstrates that the alternative procedure or requirement provides an equivalent or greater degree of protection for the lands, surface waters or groundwaters of the State as the established requirement; and

6. Documentation that demonstrates that the alternative procedure or requirement is at least as effective as the established procedure or requirement.

7. If an alternate procedure or requirement is not able to be sought under subparagraph 5. or 6., then documentation that demonstrates that the specific provisions of this chapter from which the exception is sought imposes regulatory costs on the regulated entity that could be reduced through approval of a less costly regulatory alternative or requirement that provides a substantially equivalent degree of protection for the lands, surface waters, or groundwaters of the State as the established requirement.

(c) Within 60 days of the receipt of a request for approval of an alternative procedure or requirement, the Department shall approve the request or notify the responsible party in writing that the request does not demonstrate that the requirements of subsection 62-762.851(1), F.A.C., are met.

(d) The Secretary or the Secretary’s designee shall specify by order each alternative procedure or requirement approved for an individual storage tank system or facility in accordance with this rule or shall issue an order denying the request for such approval. The Department’s order shall be agency action, reviewable in accordance with Sections 120.569 and 120.57, F.S.

(e) The provisions of this rule do not preclude the use of any other applicable relief provisions.

(2) Equipment approvals.

(a) Storage tank system equipment used in the State of Florida must have the approval of the Department before installation or use, with the exception of:

1. Dispensers, dispenser islands, nozzles, and hoses;

2. Monitoring well bailers;

3. Manhole and fillbox covers;

4. Valves;

5. Cathodic protection test stations;

6. Metallic bulk product piping;

7. Small diameter piping not in contact with soil, unless the piping extends over or into surface waters;

8. Vent lines; and

9. AST vents.

(b) Equipment approval requests shall be submitted to the Department with a demonstration that the equipment will provide equivalent protection or meet the appropriate performance standards contained in this chapter. Any approvals or denials received from other states shall be included in the approval request to the Department.

(c) A third-party demonstration by a Nationally Recognized Laboratory shall be submitted to the Department with the application. The third-party demonstration shall provide:

1. A technical evaluation of the equipment;

2. Test results that verify that the equipment will function as designed; and

3. A professional certification that the equipment meets the performance standards contained in Rule 62-762.501, F.A.C.

(d) Within 60 days of the receipt of a request for an equipment approval, the Department shall approve the request or notify the responsible party in writing that the request does not demonstrate that the requirements of subsection 62-762.851(2), F.A.C., are met.

(e) The Secretary or the Secretary’s designee shall specify by order each equipment approval that is approved in accordance with this rule or shall issue an order denying the request for such approval. The Department’s order shall be agency action, reviewable in accordance with Sections 120.569 and 120.57, F.S.

Specific Authority 376.303 FS. Law Implemented 376.303 FS. History–New 6-21-04.