62-785.300 Quality Assurance Requirements.

(1) Persons performing sampling and analyses pursuant to this chapter shall comply with the applicable requirements of Chapter 62-160, F.A.C., Quality Assurance.

(2) Unless otherwise specified in this chapter, reports that are submitted to the Department or to the delegated local program and that contain analytical data shall include the following forms and information, as applicable:

(a) Laboratory reports that include all information specified in subsection 62-160.340(2), F.A.C., and are in the format specified in Chapter 62-160, F.A.C. (Soil analytical results shall be reported on a dry-weight basis.);

(b) Copies of the completed chain of custody record form(s) [Form 62-785.900(2) or an equivalent chain of custody form that includes all the items required by Form 62-785.900(2)];

(c) Copies of the completed water sampling log form(s) pursuant to Chapter 62-160, F.A.C.; and

(d) Results from screening tests or on-site analyses performed pursuant to this chapter.

Specific Authority 376.81 FS. Law Implemented 376.81 FS. History–New 7-6-98, Amended 8-5-99, 4-17-05.