- 62-814.200 Electric and Magnetic Fields; Definitions.

Words, terms and phrases used in this chapter, unless otherwise indicated, shall have the meaning set forth in the Standards Dictionary of Electrical and Electronic Terms (ANSI/IEEE Standards No. 100-1988) adopted by reference in rule 62-814.300, F.A.C. In addition, the following words or terms, when used in this chapter, shall have the following indicated meanings:

(1) “ANSI” means the American National Standards Institute.

(2) “Balanced Current” means currents in three-phase electrical systems which are equal in amplitude and separated by a phase angle of 120 degrees.

(3) “Balanced Voltage” means voltages in a three-phase system which are equal in amplitude and separated by a phase angle of 120 degrees.

(4) “Commence Construction” means, as applied to the construction of a new transmission line, or new substation supplied by a new transmission line, or new distribution line, that the facility owner has begun a continuous program of actual on-site construction or physical modification of the electrical facility, to be completed within a reasonable period of time.

(5) “Department” means the Florida Department of Environmental Protection.

(6) “Distribution Line” means a system of conductors used to transport electrical energy at voltages of less than 69 kV including service drops from transformers to residences or businesses.

(7) “Electrical Facility” means the components of an electrical transmission line, distribution line or substation that produce or affect electric and magnetic fields.

(8) “Facility Owner” means an owner or operator of an electrical facility.

(9) “Gauss” means the unit of magnetic flux density that will induce an electromotive force of 1 x 10 to the -8 volt in each linear centimeter of a wire moving laterally with a speed of one centimeter per second at right angles to the magnetic flux.

(10) “Hertz” means the unit of frequency of an electrical facility equivalent to a cycle per second.

(11) “Highest Operating Voltage” means the maximum voltage value set forth for a particular transmission line on Table 1, ANSI C 84.1-1982, or ANSI C 92.2-1981, or the maximum operating voltage as established by the facility owner.

(12) “IEEE” means the Institute of Electrical and Electronic Engineers.

(13) “Kilovolts/meter” means a unit of measurement of electric field strength generally measured at a point one meter above the ground and expressed as kV/m.

(14) “Maximum Current Rating” or “MCR” means the maximum quantity of electric current, expressed in amperes, that can be continuously carried on the conductors of an electrical circuit as determined by the facility owner.

(15) “Maximum Electric Field Strength” means the amplitude (Root Mean Square) of the electric field produced by an electrical facility operating at the highest operating voltage expressed in kV/m at a height of one meter above ground level.

(16) “Maximum Magnetic Field” means the amplitude (Root Mean Square) of the magnetic flux density produced by an electrical facility operating at MCR measured in Gauss one meter above the earth’s surface.

(17) “Minimum Conductor Height” means the minimum vertical distance from the earth’s surface to the geometric center of the conductor or conductor bundle at MCR.

(18) “Modified” as it relates to electrical facilities means a transmission line or substation that is altered or upgraded to operate at a higher nominal voltage or current after March 21, 1989.

(19) “New Distribution Line” means a distribution line that commenced construction after March 21, 1989.

(20) “New Electrical Facility” means an electrical facility which commenced construction after March 21, 1989.

(21) “New Substation” means a substation that commenced construction after March 21, 1989, that is built to connect new transmission lines of 69 kV or larger with other electrical facilities, or a substation into which a new transmission line is built.

(22) “New Transmission Line” means a transmission line upon which construction commenced after March 21, 1989, or an existing transmission line which commences construction for the purpose of reinsulating to operate at a higher nominal voltage or reconductoring to operate at a higher MCR after March 21, 1989. This does not include transmission lines which are relocated or rebuilt unless such lines are modified. This also does not include conductors used to connect existing transmission lines to substations unless a new edge of right-of-way is created on or immediately adjacent to private property.

(23) “NESC” means the National Electrical Safety Code.

(24) “Nominal Voltage” means the voltage classification as defined in Table 1, ANSI C 84.1-1982 or ANSI C 92.2-1981.

(25) “Residential, Commercial or Industrial Building” means a structure that persons use for their residence, for commercial transactions, or for manufacturing a product. It includes structures used by providers of private and governmental services. It does not include buildings visited by people for short periods of time on a non-daily basis.

(26) “Right-of-Way” (ROW), as used herein, is a term intended to be used only for purposes of determining the appropriate points for compliance with this rule, and not for the purpose of determining a legal interest in property. “Right-of-way” means the area between two edges of ROW. Each edge of the ROW shall be identified as the farthermost point located by application of the following methods:

(a) The boundary of land where the facility owner has a property interest, such as, but not limited to, an easement, prescriptive easement, or fee simple title, and which is used or designated for construction, operation and maintenance of transmission lines.

(b) In areas where the facility owner does not have a property interest in the land where the transmission line or distribution line will be located, the ROW will be assumed to extend to the closer of:

1. The edge of the nearest residential, commercial or industrial building in existence prior to the date the electrical facility commenced construction or obtained a permit, whichever is sooner, or

2. Fifty feet from the point beneath the conductor closest to the edge of the ROW being determined.

(c) In areas where the transmission line or distribution line is adjacent to or within the property boundary of a linear easement of a railroad, utility pipeline, communication line, or public utility linear facility, or public road or canal, the ROW will be assumed to extend to the closer of:

1. The farthermost edge of the linear easement, or 50 feet from the point beneath the conductor closest to the edge of the ROW being determined, whichever is farther, or

2. The edge of the nearest residential, commercial or industrial building in existence prior to the date the electrical facility commenced construction or obtained a permit, whichever is sooner. OR

(d) In areas where the transmission line or distribution line is adjacent to or within property owned by federal, state, regional or local governmental agencies, the ROW will be assumed to extend to the closer of:

1. The edge of the nearest residential, commercial or industrial building in existence prior to the date the electrical facility commenced construction or obtained a permit, whichever is sooner, or

2. Fifty feet from the point beneath the conductor closest to the edge of the ROW being determined.

(27) “Secretary” means the Secretary of the Department of Environmental Protection.

(28) “Substation” means the electrical facility and related property used for the connection of transmission lines or distribution lines to other such electrical facilities or electrical generating plants.

(29) “Transmission Line” means a system of conductors used to transport electrical energy at voltages of 69 kV or greater.

Rulemaking Authority 403.061(7), 403.523(1) FS. Law Implemented 403.061(31), 403.523(14) FS. History–New 3-21-89, Amended 1-7-93, Formerly 17-274.200, 17-814.200.