Notice of Proposed Rule

DEPARTMENT OF FINANCIAL SERVICES

Division of State Fire Marshal

RULE NOS.:	RULE TITLES:

69A-60.002	Scope; Description of Florida Fire Prevention Code

69A-60.003	Standards of the National Fire Protection Association, NFPA 1, the Fire Code, Florida 2015 Edition, Adopted

69A-60.004	Standards of the National Fire Protection Association, NFPA 101, the Life Safety Code®, Florida 2015 Edition, Adopted

69A-60.005	Publications Referenced in NFPA 1, the Florida 2015 Edition, and NFPA 101, the Florida 2015 Edition, Added to the Florida Fire Prevention Code

PURPOSE AND EFFECT: Section 633.202(4), F.S., requires the State Fire Marshal to update, by rule, the Florida Fire Prevention Code every three years. Section 633.202(2), F.S., requires the State Fire Marshal to adopt the current editions of the National Fire Protection Association’s (NFPA) Standard 1, the Fire Code, and NFPA Standard 101, the Life Safety Code®, by reference. The proposed amendments will update the Florida Fire Prevention Code to include the most recently adopted NFPA standards and promulgate the triennial update of the Florida Fire Prevention Code as directed by section 633.202, F.S.

SUMMARY: These rule amendments address the rules and codes authorized by section 633.202, F.S. The rules are amended to adopt the most recent editions of the NFPA Standards 1 and 101, the other NFPA Standards adopted within the most recent editions of NFPA Standards 1 and 101, and to update NFPA Standards adopted in the rule to the most recently adopted editions. New Florida specific amendments to NFPA 1 and 101 are also adopted, while some, but not all, others carry forward from the original and subsequent rules.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION:

The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency.

The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: Section 120.541(4)(c) and section 120.80(17), F.S., provide an exemption from legislative ratification for the triennial update of the Florida Fire Prevention Code.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 633.104, 633.202, 633.208 FS.

LAW IMPLEMENTED: 633.104, 633.202, 633.208 FS.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW (IF NOT REQUESTED, THIS HEARING WILL NOT BE HELD):

DATE AND TIME: July 22, 2020 at 1:00 P.M.

PLACE: 325 John Knox Road, Atrium Building, 3rd Floor, Tallahassee, FL. If state office buildings remain closed to the public at the time of this hearing due to the COVID-19 outbreak, the hearing (if requested) will take place via conference call and the phone number is (850)413-1558, access code: 5164783.

Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 5 days before the workshop/meeting by contacting: Belinda Chukes at (850)413-3619 or Belinda.Chukes@myfloridacfo.com.. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Casia Sinco, Chief, Bureau of Fire Prevention, 200 East Gaines Street, Tallahassee, FL 32399-0342 (850)413-3620, or Casia.Sinco@myfloridacfo.com.

THE FULL TEXT OF THE PROPOSED RULE IS:

- 69A-60.002 Scope; Description of Florida Fire Prevention Code.

(1) through (2) No change.

(3)(a) The Florida Fire Prevention Code consists of:

1. National Fire Protection Association (NFPA) 1, the Fire Code, Florida 2018 2015 edition, as adopted in rule 69A-60.003, F.A.C.;

2. NFPA 101, the Life Safety Code®, Florida 2018 2015 edition, as adopted and incorporated in rule 69A-60.004, F.A.C., and their additions, deletions, and other modifications to NFPA 1 and NFPA 101, Florida 2018 2015 editions, as provided therein; and,

3. All codes, standards, publications, and authorities adopted in rule 69A-60.005, F.A.C.

(b) through (d) No change.

PROPOSED EFFECTIVE DATE: December 31, 2020.

Rulemaking Authority 633.104, 633.202, 633.208 FS. Law Implemented 633.104, 633.202, 633.208 FS. History–New 11-15-01, Formerly 4A-60.002, Amended 11-28-04, 5-18-08, 12-31-08, 12-31-11, 12-31-14, 12-31-17, 12-31-20.

- 69A-60.003 Standards of the National Fire Protection Association, NFPA 1, the Fire Code, Florida 2018 2015 Edition, Adopted.

(1) NFPA 1, the Fire Code, Florida 2018 2015 edition (as amended 4/2018 to amend Section 50.7 – Mobile and Termporary Cooking Operations), is hereby adopted and incorporated herein by reference and shall take effect on the effective date of this rule as a part of the Florida Fire Prevention Code.

(2)(a) NFPA 1, Florida 2018 2015 edition, may be purchased by contacting writing to the NFPA at 1 Batterymarch Park, Quincy, Massachusetts 02169-7471; Phone 1-800-344-3555; Website www.nfpa.org.

(b) All codes, standards, publications, and authorities adopted and incorporated by reference in this rule chapter are also available for public inspection during regular business hours at the Bureau of Fire Prevention, Division of State Fire Marshal, Department of Financial Services, 325 John Knox Road, The Atrium, Third Floor, Tallahassee, Florida 32303 and may be accessed in a read-only, non-printable, non-downloadable format at the Division of State Fire Marshal website at: https://www.myfloridacfo.com/Division/SFM/BFP/FloridaFirePreventionCodePage.htm. whose address is http://www.myfloridacfo.com/Division/SFM.

(c) NFPA 1, Florida 2015 edition, may also be purchased at the Bureau of Fire Standards and Training, Division of State Fire Marshal, 11655 Northwest Gainesville Road, Ocala, Florida 34482.

PROPOSED EFFECTIVE DATE: December 31, 2020.

Rulemaking Authority 633.104, 633.202, 633.208 FS. Law Implemented 633.104, 633.202, 633.208 FS. History–New 11-15-01, Formerly 4A-60.003, Amended 11-28-04, 5-18-08, 12-31-08, 12-31-11, 5-1-13, 12-31-14, 12-31-17, 11-11-18, 12-31-20.

- 69A-60.004 Standards of the National Fire Protection Association, NFPA 101, the Life Safety Code®, Florida 2018 2015 Edition, Adopted.

(1) NFPA 101, the Life Safety Code®, Florida 2018 2015 edition, is hereby adopted and incorporated herein by reference and shall take effect on the effective date of this rule as a part of the Florida Fire Prevention Code.

(2)(a) NFPA 101, Florida 2018 2015 edition may be purchased by contacting writing to the NFPA at 1 Batterymarch Park, Quincy, Massachusetts 02169-7471; Phone 1-800-344-3555; Website www.nfpa.org.

(b) All codes, standards, publications, and authorities adopted and incorporated by reference in this rule chapter are also available for public inspection during regular business hours at the Bureau of Fire Prevention, Division of State Fire Marshal, Department of Financial Services, 325 John Knox Road, The Atrium, Third Floor, Tallahassee, Florida 32303 and may be accessed in a read-only, non-printable, non-downloadable format at the Division of State Fire Marshal website at:  https://www.myfloridacfo.com/Division/SFM/BFP/FloridaFirePreventionCodePage.htm.  whose address is http://www.myfloridacfo.com/Division/SFM.

(c) NFPA 101, Florida 2015 edition, may also be purchased at the Bureau of Fire Standards and Training, Division of State Fire Marshal, 11655 Northwest Gainesville Road, Ocala, Florida 34482.

PROPOSED EFFECTIVE DATE: December 31, 2020.

Rulemaking Authority 633.104, 633.202, 633.208 FS. Law Implemented 633.104, 633.202, 633.208 FS. History–New 11-15-01, Formerly 4A-60.004, Amended 11-28-04, 7-12-06, 5-18-08, 12-31-08, 12-31-11, 12-31-14, 12-31-17, 12-31-20.

- 69A-60.005 Publications Referenced in NFPA 1, the Florida 2018 2015 Edition, and NFPA 101, the Florida 2018 2015 Edition, Added to the Florida Fire Prevention Code.

(1) No change.

(2) The following publications are hereby adopted and incorporated by reference herein and added to the Florida Fire Prevention Code and shall take effect on the effective date of this rule:

(a) NFPA 2, 2016 2011 edition, Hydrogen Technologies Code.

(b) NFPA 3, 2015 edition, Recommended Practice for Commissioning of Fire Protection and Life Safety Systems.

(b)(c) NFPA 4, 2018 2015 edition, Standard for Integrated Fire Protection and Life Safety System Testing.

(c)(d) NFPA 10, 2018 2013 edition, Standard for Portable Fire Extinguishers.

(d)(e) NFPA 11, 2016 2010 edition, Standard for Low-, Medium- and High-Expansion Foam.

(e)(f) NFPA 12, 2015 2011 edition, Standard on Carbon Dioxide Extinguishing Systems.

(f)(g) NFPA 12A, 2015 2009 edition, Standard on Halon 1301 Fire Extinguishing Systems.

(g)(h) NFPA 13, 2016 2013 edition, Standard for the Installation of Sprinkler Systems.

(h)(i) NFPA 13D, 2016 2013 edition, Standard for the Installation of Sprinkler Systems in One- and Two- Family Dwellings and Manufactured Homes.

(i)(j) NFPA 13R, 2016 2013 edition, Standard for the Installation of Sprinkler Systems in Low-Rise Residential Occupancies.

(j)(k) NFPA 14, 2016 2013 edition, Standard for the Installation of Standpipe, and Hose Systems.

(k)(l) NFPA 15, 2017 2012 edition, Standard for Water Spray Fixed Systems for Fire Protection.

(l)(m) NFPA 16, 2015 2011 edition, Standard for the Installation of Foam-Water Sprinkler and Foam-Water Spray Systems.

(m)(n) NFPA 17, 2017 2013 edition, Standard for Dry Chemical Extinguishing Systems.

(n)(o) NFPA 17A, 2017 2013 edition, Standard for Wet Chemical Extinguishing Systems.

(o)(p) NFPA 20, 2016 2013 edition, Standard for the Installation of Stationary Pumps for Fire Protection.

(p)(q) NFPA 22, 2013 edition, Standard for Water Tanks for Private Fire Protection.

(q)(r) NFPA 24, 2016 2013 edition, Standard for the Installation of Private Fire Service Mains and Their Appurtenances.

(r)(s) NFPA 25, 2017 2014 edition, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems.

(s)(t) NFPA 30, 2018 2015 edition, Flammable and Combustible Liquids Code.

(t)(u) NFPA 30A, 2018 2015 edition, Code for Motor Fuel Dispensing Facilities and Repair Garages.

(u)(v) NFPA 30B, 2015 edition, Code for the Manufacture and Storage of Aerosol Products.

(v)(w) NFPA 31, 2016 2011 edition, Standard for the Installation of Oil-Burning Equipment.

(w)(x) NFPA 32, 2016 2011 edition, Standard for Drycleaning Plants.

(x)(y) NFPA 33, 2016 2011 edition, Standard for Spray Application Using Flammable or Combustible Materials.

(y)(z) NFPA 34, 2015 2011 edition, Standard for Dipping, Coating, and Printing Processes Using Flammable or Combustible Liquids.

(z)(aa) NFPA 35, 2016 2011 edition, Standard for the Manufacture of Organic Coatings.

(aa)(bb) NFPA 36, 2017 2013 edition, Standard for Solvent Extraction Plants.

(bb)(cc) NFPA 37, 2018 2015 edition, Standard for the Installation and Use of Stationary Combustion Engines and Gas Turbines.

(cc)(dd) NFPA 40, 2016 2011 edition, Standard for the Storage and Handling of Cellulose Nitrate Film.

(dd)(ee) NFPA 45, 2015 2011 edition, Standard on Fire Protection for Laboratories Using Chemicals.

(ee)(ff) NFPA 51, 2018 2013 edition, Standard for the Design and Installation of Oxygen-Fuel Gas Systems for Welding, Cutting and Allied Processes.

(gg) NFPA 51A, 2012 edition, Standard for Acetylene Cylinder Charging Plants.

(ff)(hh) NFPA 51B, 2014 edition, Standard for Fire Prevention During Welding, Cutting and Other Hot Work.

(gg)(ii) NFPA 52, 2016 2013 edition, Vehicular Gaseous Fuel Systems Code.

(hh)(jj) NFPA 54, 2018 2015 edition, National Fuel Gas Code.

(ii)(kk) NFPA 55, 2016 2013 edition, Compressed Gases and Cryogenic Fluids Code.

(jj) NFPA 56, 2017 edition, Standard for Fire and Explosion Prevention During Cleaning and Purging of Flammable Gas Piping Systems.

(kk)(ll) NFPA 58, 2017 2014 edition, Liquefied Petroleum Gas Code.

(ll)(mm) NFPA 59, 2018 2015 edition, Utility LP-Gas Plant Code.

(mm)(nn) NFPA 59A, 2016 2013 edition, Standard for the Production, Storage, and Handling of Liquefied Natural Gas (LNG).

(nn)(oo) NFPA 61, 2017 2013 edition, Standard for the Prevention of Fires and Dust Explosions in Agricultural and Food Processing Facilities.

(oo)(pp) NFPA 68, 2013 edition, Standard on Explosion Protection by Deflagration Venting.

(pp)(qq) NFPA 69, 2014 edition, Standard on Explosion Prevention Systems.

(qq)(rr) NFPA 70, 2017 2014 edition, National Electrical Code®.

(rr)(ss) NFPA 72, 2016 2013 edition, National Fire Alarm and Signaling Code.

(ss)(tt) NFPA 75, 2017 2013 edition, Standard for the Fire Protection of Information Technology Equipment.

(tt)(uu) NFPA 76, 2016 2012 edition, Standard for the Fire Protection of Telecommunications Facilities.

(uu)(vv) NFPA 80, 2016 2013 edition, Standard for Fire Doors and Other Opening Protectives.

(vv)(ww) NFPA 82, 2014 edition, Standard on Incinerators and Waste and Linen Handling Systems and Equipment.

(ww)(xx) NFPA 85, 2015 2011 edition, Boiler and Combustion Systems Hazards Code.

(xx)(yy) NFPA 86, 2015 edition, Standard for Ovens and Furnaces.

(yy)(zz) NFPA 88A, 2015 edition, Standard for Parking Structures.

(zz)(aaa) NFPA 90A, 2018 2015 edition, Standard for the Installation of Air-Conditioning and Ventilating Systems.

(aaa)(bbb) NFPA 90B, 2018 2015 edition, Standard for the Installation of Warm Air Heating and Air-Conditioning Systems.

(bbb)(ccc) NFPA 91, 2015 2010 edition, Standard for Exhaust Systems for Air Conveying of Vapors, Gases, Mists, and Noncombustible Particulate Solids.

(ccc)(ddd) NFPA 92, 2015 2012 edition, Standard for Smoke-Control Systems.

(ddd)(eee) NFPA 96, 2017 2014 edition, Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations. Section 10-2.3 of NFPA 96 applies prospectively only. Existing installations are permitted to remain in place subject to the approval of the authority having jurisdiction.

(eee)(fff) NFPA 99, 2018 2015 edition, Health Care Facilities Code.

(fff) NFPA 99B, 2018 edition, Standard for Hypobaric Facilities.

(ggg) NFPA 101, 2018 2015 edition, Life Safety Code®.

(hhh) NFPA 101A, 2016 2013 edition, Guide on Alternative Approaches to Life Safety.

(iii) NFPA 102, 2016 2011 edition, Standard for Grandstands, Folding and Telescopic Seating, Tents and Membrane Structures.

(jjj) NFPA 105, 2016 2013 edition, Standard for Smoke Door Assemblies and Other Opening Protectives.

(kkk) NFPA 110, 2016 2013 edition, Standard for Emergency and Standby Power Systems.

(lll) NFPA 111, 2016 2013 edition, Standard on Stored Electrical Energy Emergency and Standby Power Systems.

(mmm) NFPA 115, 2016 edition, Standard for Laser Fire Protection.

(nnn)(mmm) NFPA 120, 2015 2010 edition, Standard for Fire Prevention and Control in Coal Mines.

(ooo)(nnn) NFPA 122, 2015 2010 edition, Standard for Fire Prevention and Control in Metal/Nonmetal Mining and Metal Mineral Processing Facilities.

(ppp)(ooo) NFPA 130, 2017 2014 edition, Standard for Fixed Guideway Transit and Passenger Rail Systems.

(qqq)(ppp) NFPA 140, 2013 edition, Standard on Motion Picture and Television Production Studio Soundstages, Approved Production Facilities, and Production Locations.

(rrr)(qqq) NFPA 150, 2016 2013 edition, Standard on Fire and Life Safety in Animal Housing Facilities.

(sss)(rrr) NFPA 160, 2016 2011 edition, Standard for the Use of Flame Effects Before an Audience.

(ttt)(sss) NFPA 170, 2015 2012 edition, Standard for Fire Safety and Emergency Symbols.

(uuu)(ttt) NFPA 204, 2015 2012 edition, Standard for Smoke and Heat Venting.

(vvv)(uuu) NFPA 211, 2016 2013 edition, Standard for Chimneys, Fireplaces, Vents, and Solid Fuel-Burning Appliances.

(www)(vvv) NFPA 221, 2018 2015 edition, Standard for High Challenge Fire Walls, Fire Walls and Fire Barrier Walls.

(xxx)(www) NFPA 232, 2017 2012 edition, Standard for the Protection of Records.

(yyy)(xxx) NFPA 241, 2013 edition, Standard for Safeguarding Construction, Alteration, and Demolition Operations.

(zzz) NFPA 251, 2006 edition, Standard Methods of Tests of Fire Resistance of Building Construction and Materials.

(aaaa)(yyy) NFPA 252, 2017 2012 edition, Standard Methods of Fire Tests of Door Assemblies.

(bbbb)(zzz) NFPA 253, 2015 2011 edition, Standard Method of Test for Critical Radiant Flux of Floor Covering Systems Using a Radiant Heat Energy Source.

(cccc)(aaaa) NFPA 257, 2017 2012 edition, Standard on Fire Test for Window and Glass Block Assemblies.

(dddd)(bbbb) NFPA 259, 2013 edition, Standard Test Method for Potential Heat of Building Materials.

(eeee)(cccc) NFPA 260, 2013 edition, Standard Methods of Tests and Classification System for Cigarette Ignition Resistance of Components of Upholstered Furniture.

(ffff)(dddd) NFPA 261, 2013 edition, Standard Method of Test for Determining Resistance of Mock-Up Upholstered Furniture Material Assemblies to Ignition by Smoldering Cigarettes.

(gggg)(eeee) NFPA 265, 2015 2011 edition, Standard Methods of Fire Tests for Evaluating Room Fire Growth Contribution of Textile or Expanded Vinyl Wall Coverings on Full Height Panels and Walls.

(hhhh)(ffff) NFPA 286, 2015 2011 edition, Standard Methods of Fire Tests for Evaluating Contribution of Wall and Ceiling Interior Finish to Room Fire Growth.

(iiii)(gggg) NFPA 288, 2017 2012 edition, Standard Methods of Fire Tests of Horizontal Fire Door Assemblies Installed in Horizontal Fire Resistance-Rated Assemblies.

(jjjj)(hhhh) NFPA 289, 2013 edition, Standard Method of Fire Test for Individual Fuel Packages.

(kkkk) NFPA 301, 2018 edition, Code for Safety to Life from Fire on Merchant Vessels.

(llll)(iiii) NFPA 302, 2015 edition, Fire Protection Standard for Pleasure and Commercial Motor Craft.

(mmmm)(jjjj) NFPA 303, 2016 2011 edition, Fire Protection Standard for Marinas and Boatyards.

(nnnn)(kkkk) NFPA 307, 2016 2011 edition, Standard for the Construction and Fire Protection of Marine Terminals, Piers, and Wharves.

(oooo)(llll) NFPA 312, 2016 2011 edition, Standard for Fire Protection of Vessels During Construction, Conversion, Repair, and Lay-Up.

(pppp)(mmmm) NFPA 318, 2018 2015 edition, Standard for the Protection of Semiconductor Fabrication Facilities.

(qqqq)(nnnn) NFPA 326, 2015 2010 edition, Standard for the Safeguarding of Tanks and Containers for Entry, Cleaning, or Repair.

(rrrr)(oooo) NFPA 385, 2017 2012 edition, Standard for Tank Vehicles for Flammable and Combustible Liquids.

(ssss)(pppp) NFPA 400, 2016 2013 edition, Hazardous Materials Code.

(tttt) NFPA 403, 2018 edition, Standard for Aircraft Rescue and Fire-Fighting Services at Airports.

(uuuu)(qqqq) NFPA 407, 2017 2012 edition, Standard for Aircraft Fuel Servicing.

(vvvv)(rrrr) NFPA 408, 2017 2010 edition, Standard for Aircraft Hand Portable Fire Extinguishers.

(wwww)(ssss) NFPA 409, 2016 2011 edition, Standard on Aircraft Hangars.

(xxxx)(tttt) NFPA 410, 2015 2010 edition, Standard on Aircraft Maintenance.

(yyyy)(uuuu) NFPA 415, 2016 2013 edition, Standard on Airport Terminal Buildings, Fueling Ramp Drainage, and Loading Walkways.

(zzzz)(vvvv) NFPA 418, 2016 2011 edition, Standard for Heliports.

(aaaaa) NFPA 423, 2016 edition, Construction and Protection of Aircraft Engine Test Facilities.

(wwww) NFPA 430, 2004 edition, Code for the Storage of Liquid and Solid Oxidizers.

(bbbbb)(xxxx) NFPA 484, 2018 2015 edition, Standard for Combustible Metals.

(ccccc)(yyyy) NFPA 495, 2013 edition, Explosive Materials Code.

(ddddd)(zzzz) NFPA 498, 2013 edition, Standard for Safe Havens and Interchange Lots for Vehicles Transporting Explosives.

(eeeee)(aaaaa) NFPA 501, 2017 2013 edition, Standard on Manufactured Housing.

(fffff)(bbbbb) NFPA 501A, 2017 2013 edition, Standard for Fire Safety Criteria for Manufactured Home Installations, Sites, and Communities.

(ggggg) NFPA 502, 2017 edition, Standard for Road Tunnels, Bridges, and Other Limited Access Highways.

(hhhhh)(ccccc) NFPA 505, 2013 edition, Fire Safety Standard for Powered Industrial Trucks Including Type Designations, Areas of Use, Conversions, Maintenance and Operations.

(iiiii)(ddddd) NFPA 601, 2015 2010 edition, Standard for Security Services in Fire Loss Prevention.

(jjjjj) NFPA 652, 2016 edition, Standard on the Fundamentals of Combustible Dust.

(kkkkk)(eeeee) NFPA 654, 2013 edition, Standard for the Prevention of Fire and Dust Explosions from the Manufacturing, Processing, and Handling of Combustible Particulate Solids.

(lllll)(fffff) NFPA 655, 2017 2012 edition, Standard for Prevention of Sulfur Fires and Explosions.

(mmmmm)(ggggg) NFPA 664, 2017 2012 edition, Standard for the Prevention of Fires and Explosions in Wood Processing and Woodworking Facilities.

(nnnnn)(hhhhh) NFPA 701, 2015 2010 edition, Standard Methods of Fire Tests for Flame Propagation of Textiles and Films.

(ooooo)(iiiii) NFPA 703, 2015 2015 edition, Standard for Fire Retardant-Treated Wood and Fire-Retardant Coatings for Building Materials.

(ppppp)(jjjjj) NFPA 704, 2017 2012 edition, Standard System for Identification of the Hazards of Materials for Emergency Response.

(qqqqq)(kkkkk) NFPA 720, 2015 edition, Standard for the Installation of Carbon Monoxide (CO) Detection and Warning Equipment.

(rrrrr) NFPA 731, 2017 edition, Standard for the Installation of Electronic Premises Security Systems.

(sssss)(lllll) NFPA 750, 2015 edition, Standard on Water Mist Fire Protection Systems.

(ttttt) NFPA 780, 2017 edition, Standard for the Installation of Lightning Protection Systems.

(uuuuu) NFPA 801, 2014 edition, Standard for Fire Protection for Facilities Handling Radioactive Materials.

(vvvvv) NFPA 804, 2015 edition, Standard for Fire Protection for Advanced Light Water Reactor Electric Generating Plants.

(wwwww) NFPA 805, 2015 edition, Performance-Based Standard for Fire Protection for Light Water Reactor Electric Generating Plants.

(xxxxx) NFPA 820, 2016 edition, Standard for Fire Protection in Wastewater Treatment and Collection Facilities.

(yyyyy)(mmmmm) NFPA 909, 2017 2013 edition, Code for the Protection of Cultural Resources Properties – Museums, Libraries, and Places of Worship.

(zzzzz)(nnnnn) NFPA 914, 2015 2010 edition, Code for Fire Protection of Historic Structures.

(aaaaaa)(ooooo) NFPA 1122, 2018 2013 edition, Code for Model Rocketry.

(bbbbbb)(ppppp) NFPA 1123, 1995  2010 edition, Code for Fireworks Display.

(cccccc)(qqqqq) NFPA 1124, 2017 2006 edition, Code for the Manufacture, Transportation, Storage and Retail Sales of Fireworks and Pyrotechnic Articles.

(dddddd)(rrrrr) NFPA 1125, 2017 2012 edition, Code for the Manufacture of Model Rocket and High Power Rocket Motors.

(eeeeee)(sssss) NFPA 1126, 2016 2011 edition, Standard for the Use of Pyrotechnics before a Proximate Audience.

(ffffff)(ttttt) NFPA 1127, 2018 2013 edition, Code for High Powered Rocketry.

(gggggg) NFPA 1141, 2017 edition, Standard for Fire Protection Infrastructure for Land Development in Wildland, Rural, and Suburban Areas.

(hhhhhh)(uuuuu) NFPA 1142, 2017 2012 edition, Standard on Water Supplies for Suburban and Rural Fire Fighting.

(iiiiii)(vvvvv) NFPA 1144, 2018 2013 edition, Standard for Reducing Structure Ignition Hazards from Wildland Fire.

(jjjjjj)(wwwww) NFPA 1192, 2018 2015 edition, Standard on Recreational Vehicles.

(kkkkkk)(xxxxx) NFPA 1194, 2018 2014 edition, Standard for Recreational Vehicle Parks and Campgrounds.

(llllll)(yyyyy) NFPA 1221, 2016 edition, Standard for the Installation, Maintenance, and Use of Emergency Services Communications Systems.

(mmmmmm) NFPA 1730, 2016 edition, Standard on Organization and Deployment of Fire Prevention Inspection and Code Enforcement, Plan Review, Investigation, and Public Education Operations.

(nnnnnn) NFPA 1901, 2016 edition, Standard for Automotive Fire Apparatus.

(oooooo) NFPA 1906, 2016 edition, Standard for Wildland Fire Apparatus.

(pppppp) NFPA 1925, 2013 edition, Standard on Marine Fire-Fighting Vessels.

(qqqqqq)(zzzzz) NFPA 1963, 2014 edition, Standard for Fire Hose Connections.

(rrrrrr)(aaaaaa) NFPA 2001, 2015 2012 edition, Standard on Clean Agent Fire Extinguishing Systems.

(ssssss) NFPA 2010, 2015 edition, Standard for Fixed Aerosol Fire Extinguishing Systems.

(tttttt) NFPA 2113, 2015 edition, Standard on Selection, Care, Use, and Maintennce of Flame-Resistant Garments for Protection of Industrial Personnel Against Short-Duration Thermal Exposures from Fire.

(bbbbbb) through (qqqqqq) renumbered as (uuuuuu) through (jjjjjjj) No change.

(3)(a) The NFPA standards referenced in subsection (2) are copyrighted materials that cannot be copied but may be:

1. Obtained by contacting the NFPA at 1 Batterymarch Park, Quincy, Massachusetts 02169-7471; Phone 1-800-344-3555; Website www.nfpa.org.; or

2. Accessed in a read-only, non-printable, non-downloadable format at the NFPA’s website at https://www.nfpa.org/Codes-and-Standards/All-Codes-and-Standards/Free-access.

(b) The copyrighted NFPA standards referenced in subsection (2) may be viewed, during regular business hours, at the offices of:

1. The Division of State Fire Marshal, 325 John Knox Road, Third Floor, Atrium Building, Tallahassee, Florida 32303; or

2. The Florida Administrative Code and Register, R.A. Gray Building, 500 South Bronough Street, Tallahassee, Florida 32399-0250.

The codes and standards published by the National Fire Protection Association and the SFPE Engineering Guide to Performance-Based Fire Protection Analysis and Design of Buildings may be obtained by writing to the NFPA at: 1 Batterymarch Park, Quincy, Massachusetts 02169-7471. All standards adopted and incorporated by reference in this rule are also available for public inspection during regular business hours at the Bureau of Fire Prevention, Division of State Fire Marshal, Department of Financial Services, 325 John Knox Road, The Atrium, Third Floor, Tallahassee, Florida 32303.

(4) through (5) No change.

PROPOSED EFFECTIVE DATE: December 31, 2020.

Rulemaking Authority 633.104, 633.202, 633.208 FS. Law Implemented 633.104, 633.202, 633.208, 791.012 FS. History–New 11-15-01, Formerly 4A-60.005, Amended 11-28-04, 5-18-08, 12-31-08, 4-25-12, 12-31-14, 12-31-17, 12-31-20.

NAME OF PERSON ORIGINATING PROPOSED RULE: Casia Sinco, Chief, Bureau of Fire Prevention

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Jimmy Patronis, Chief Financial Officer and State Fire Marshal

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: June 29, 2020

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: October 24, 2019