Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from UCI2 Construction Services, LLC. The petition seeks the agency's opinion as to the applicability of section 202, Florida Building Code, Building, 7th Edition (2020) as it applies to the petitioner.

Petitioner seeks clarification about whether the following projects would fall under the definition of "threshold building" in the Florida Building Code: Project 1: A 180 ft uninhabited monopole tower and foundation. The monopole is tapered pole sections slipped over top of each section. This starts with a base section bolted to a caisson frame. Project 2: A 250 ft uninhabited self-support tower and foundations. This is a lattice steel tapered structure which is assembled in sections. Then the sections are bolted on top of each other. The bottom section is bolted to three separate caisson foundations. Project 3: A 140 ft uninhabited monocross tower and foundation. The monocross is tapered pole sections slipped over top of each section with a base section bolted to a caisson foundation. The upper sections are bolted to a transition piece along with the cross arms to form the cross. Project 4: A 600 ft uninhabited guyed tower and foundations. This is a straight lattice steel structure fabricated in sections to be bolted on top of each other. As the tower is constructed it is attached to guy wires which are attached to guy anchors for support. The tower base is bolted to a foundation. The guy anchors are embedded into foundation blocks.

A copy of the Petition for Declaratory Statement may be obtained by contacting: the Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.