- 25-6.078 Schedule of Charges.

(1) Each utility shall file with the Commission a written policy that shall become a part of the utility’s tariff rules and regulations on the installation of underground facilities in new subdivisions. Such policy shall be subject to review and approval of the Commission and shall include an Estimated Average Cost Differential, if any, and shall state the basis upon which the utility will provide underground service and its method for recovering the difference in cost of an underground system and an equivalent overhead system from the applicant at the time service is extended. The charges to the applicant shall not be more than the estimated difference in cost of an underground system and an equivalent overhead system.

(2) For the purpose of calculating the Estimated Average Cost Differential, cost estimates shall reflect the requirements of Rule 25-6.030, F.A.C., Storm Protection Plan; Rule 25-6.034, F.A.C., Standard of Construction; Rule 25-6.0341, F.A.C., Location of the Utility’s Electric Distribution Facilities; and Rule 25-6.0345, F.A.C., Safety Standards for Construction of New Transmission and Distribution Facilities.

(3) On or before October 15 of each year, each utility shall file with the Commission Clerk, using current material and labor costs, Form PSC 1031 (08/20), entitled “Overhead/Underground Residential Differential Cost Data,” which is incorporated by reference into this rule and is available at http://www.flrules.org/Gateway/reference.asp?No=Ref-12425. If the cost differential as calculated in Form PSC 1031 (08/20) varies from the Commission-approved differential by plus or minus 10 percent or more, the utility shall file a written policy and supporting data and analyses as prescribed in subsections (1), (4) and (5) of this rule on or before April 1 of the following year; however, each utility shall file a written policy and supporting data and analyses at least once every 3 years.

(4) Differences in Net Present Value of operational costs, including average historical storm restoration costs over the life of the facilities, between underground and overhead systems, if any, shall be taken into consideration in determining the overall Estimated Average Cost Differential. Each utility shall establish sufficient record keeping and accounting measures to separately identify operational costs for underground and overhead facilities, including storm related costs.

(5) Detailed supporting data and analyses used to determine the Estimated Average Cost Differential for underground and overhead distribution systems shall be concurrently filed by the utility with the Commission and shall be updated using cost data developed from the most recent 12-month period. The utility shall record these data and analyses on Form PSC 1031 (08/20), which is incorporated by reference into subsection (3) of this rule.

(6) Service for a new multiple-occupancy building shall be constructed underground within the property to be served to the point of delivery at or near the building by the utility at no charge to the applicant, provided the utility is free to construct its service extension or extensions in the most economical manner.

(7) The recovery of the cost differential as filed by the utility and approved by the Commission may not be waived or refunded unless it is mutually agreed by the applicant and the utility that the applicant will perform certain work as defined in the utility’s tariff, in which case the applicant shall receive a credit. Provision for the credit shall be set forth in the utility’s tariff rules and regulations, and shall be no more in amount than the total charges applicable.

(8) The difference in cost as determined by the utility in accordance with its tariff shall be based on full use of the subdivision for building lots or multiple-occupancy buildings. If any given subdivision is designed to include large open areas, the utility or the applicant may refer the matter to the Commission for a special ruling as provided under Rule 25-6.083, F.A.C.

(9) The utility shall not be obligated to install any facilities within a subdivision until satisfactory arrangements for the construction of facilities and payment of applicable charges, if any, have been completed between the applicant and the utility by written agreement. A standard agreement form shall be filed with the company’s tariff.

(10) Nothing in this rule shall be construed to prevent any utility from waiving all or any portion of a cost differential for providing underground facilities. If, however, the utility waives the differential, the utility shall reduce net plant in service as though the differential had been collected unless the Commission determines that there is a quantifiable benefit to the general body of ratepayers commensurate with the waived differential.

Rulemaking Authority 350.127(2), 366.05(1) FS. Law Implemented 366.03, 366.04(1), (4), 366.04(2)(f), 366.06(1) FS. History–New 4-10-71, Amended 4-13-80, 2-12-84, Formerly 25-6.78, Amended 10-29-97, 2-1-07, 12-10-20.