Notice of Declaratory Statement

DEPARTMENT OF FINANCIAL SERVICES

NOTICE IS HEREBY GIVEN that The Florida Department of Financial Services, Division of State Fire Marshal (Department) has issued an order disposing of the petition for declaratory statement filed by Stephen C. Hesson, Assistant Fire Chief, Fire Marshal, City of Gainesville (Petitioner) on September 3, 2020. The following is a summary of the agency's disposition of the petition: The Florida Department of Financial Services, Division of State Fire Marshal (Department), concluded in this Declaratory Statement, that, 1) No, the specific statement “security access turnstiles complying with 7.2.1.11.1.3 shall be permitted” does not need to be present; and 2) Yes, the combination of the FFPC 6th edition, 101:7.2.1.11.1.1 and 101:36.2.2.9, allow for the installation of security access turnstiles in mercantile occupancies.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Sarah Marcos, Office of the General Counsel, 200 E. Gaines Street, Tallahassee, Florida 32399, (850)413-4229, Sarah.Marcos@myfloridacfo.com.

Please refer all comments to: Sarah Marcos, Office of the General Counsel, 200 E. Gaines Street, Tallahassee, Florida 32399, (850)413-4229, Sarah.Marcos@myfloridacfo.com.