- 64B5-17.015 Office Safety Requirement.

As part of the minimum standard of care, every dental office location shall be required to have an automatic external defibrillator by February 28, 2006. Any dentist practicing after February 28, 2006, without an automatic external defibrillator on site shall be considered to be practicing below the minimum standard of care.

Rulemaking Authority 466.004(4), 466.017(3)(c) FS. Law Implemented 466.017(4), 466.028(1)(x) FS. History–New 5-31-04.