- 62-610.451 Minimum System Size.

(1) Except as provided in subsection 62-610.451(2), F.A.C., no treatment facility with a design average daily flow of less than 0.1 mgd shall have the produced reclaimed water made available for reuse activities covered by Part III (Rules 62-610.450 through 62-610.491, F.A.C.) of this chapter.

(2) A minimum system size is not required if reclaimed water will be used only for toilet flushing or fire protection.

(3) The permitted capacity of the overall domestic wastewater treatment facility shall be used in determining compliance with the minimum system size requirements, even if only a small percentage of the wastewater treated is used for beneficial purposes.

Rulemaking Authority 403.051, 403.061, 403.064, 403.087 FS. Law Implemented 403.021, 403.051, 403.061, 403.062, 403.064, 403.085, 403.086, 403.087, 403.088 FS. History–New 4-4-89, Amended 4-2-90, Formerly 17-610.451, Amended 1-9-96, 11-19-07, 4-1-21.