Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On March 16, 2021, the Division issued an order. The Final Order was in response to a Petition for a Temporary Variance from Lake Worth Towers at 1500 Lucerne Ave, Lake Worth, FL, filed December 7, 2020, and advertised on December 15, 2020, in Vol. 46, No. 242, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a temporary variance from Rules 2.7.4 and 3.11.3, ASME A17.3, 1996 edition and 8.6.4.19.7, ASME A17.1, 2013 edition, as adopted by Rule 61C-5.001 Florida Administrative Code that requires upgrading the elevators with firefighters’ emergency operations, door restrictors, and standby or emergency power operation because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2020-150).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.