Notice of Change/Withdrawal

DEPARTMENT OF ENVIRONMENTAL PROTECTION

Office of the Secretary

RULE NO.:	RULE TITLE:

62S-7.012	SLIP Study Standards

NOTICE OF CHANGE

Notice is hereby given that the following changes have been made to the proposed rule in accordance with subparagraph 120.54(3)(d)1., F.S., published in Vol. 47 No. 64, April 2, 2021 issue of the Florida Administrative Register.

The following change is made in response to written comments received from the staff of the Joint Administrative Procedures Committee.

- 62S-7.012 SLIP Study Standards

(1) A SLIP study required under s. 161.551, F.S., shall meet the following standards and criteria, and the Department’s web-based tool has been designed to meet these standards and criteria:

(a) No change.

(b) Show the amount of flooding, inundation, and wave action damage risk expected over 50 years or the expected life of the structure, whichever is less. The amount of flooding and wave damage expected must be calculated using the following criteria:

1. through 2. No change.

3. Depth-Damage Curves from the 2015 North Atlantic Coast Comprehensive Study, titled “Resilient Adaptation to Increasing Risk: Physical Depth Damage Function Summary Report”, hereby incorporated by reference http://www.flrules.org/Gateway/reference.asp?No=Ref-XXXXX. Copies of these documents may be obtained by writing to the Office of Resilience and Coastal Protection, Mail Station 235, Department of Environmental Protection, Douglas Building, 3900 Commonwealth Blvd., Tallahassee, Florida 32399-3000, must be used to estimate the cost of future flood damage, for vertical construction only, by assessing the approximate flood depth within the structure, using the comparison of the critical elevations to the previously calculated 1% annual chance water surface elevation added to the NOAA 2017 Intermediate-High and any other chosen local sea level rise scenarios.

(c) through (e) No change.

Rulemaking authority: 161.551(6), FS Implemented 161.551 FS History- New, _______.