64B12-10.007 Minimum Equipment Requirements.

The following equipment must be maintained in each office in which an optician practices opticianry:

(1) Pupillary gauges,

(2) Thickness gauge,

(3) One set of hand tools necessary for the fitting of eye glasses,

(4) One lensometer or vertometer or similar instrument,

(5) One colmascope or similar instrument, when manufacturing glass lenses on the premises,

(6) One frame heater,

(7) One lens measure,

(8) Set of sample frames and mountings,

(9) Keratometer or similar instrument and slit lamp or similar instrument if fitting and adapting contact lenses pursuant to subsection 64B12-10.009(2), F.A.C.

(10) Set of trial soft contact lenses, if fitting and adapting contact lenses pursuant to subsection 64B12-10.009(2), F.A.C.

Specific Authority 484.005(2) FS. Law Implemented 484.002(3), 484.005(2) FS. History–New 12-6-79, Formerly 21P-10.07, Amended 5-31-87, Formerly 21P-10.007, 61G13-10.007, 59U-10.007, Amended 8-16-04.